[image: image1.jpg]



Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4AC41







Date:5-Dec-16(FN)
B. TECH. II-Year I-Semester Examinations, Nov/Dec 2016 (Supplementary)

BASIC ELECTRICAL ENGINEERING (Common to ME, CSE and IT)
Time:
3 Hours







      Max. Marks: 70


Part - A 

Max.Marks:20

Answer all QUESTIONS. EACH QUESTION CARRIES 2 MARKS.
1. Define KCL and KVL.

2. Define R.M.S value

3. Explain what do you mean by an Ideal transformer.

4. List out the types of DC machines. 

5. What are the different torques in electrical Instruments? 

6. What is the relation between line current and phase current in a delta connected system.

7. Define instantaneous power and average power of a given electrical circuit

8. Obtain the equivalent Star circuit of a given delta circuit with equal resistance ‘R’ in all branches.

9. Explain the effect of damping in electrical instruments?

10. What is slip Explain?

Part – B
Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
1. Reduce the network shown in fig.(1) below using source transformation across the terminals ‘A’ and ‘B’








(10M)
[image: image3.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS





Fig. 1
2. (a)Explain how a sinusoidal quantity can be represented by the phasor.

(4M)
 (b)Find the values of R1 and X1 when a lagging current in the circuit gives a power of 2KW.









 (6M)
[image: image2.jpg]200V





Fig. 2

3.(a) Deduce the expression for e.m.f in a transformer and give the expressions  for voltage ratio and turns ratio.







(6M)
(b) A 25KVA, single phase transformer has 250 turns on the primary and 40 turns on the secondary winding. The primary is connected to 1500volt, 50Hz mains. Calculate 









(4M)
(i) Primary and secondary currents on full load

(ii) Secondary EMF

4.(a) Explain the principle of operation and working of a DC shunt motor.

(5M)
(b) Draw the speed characteristics of DC machine and explain.


(5M)

5.(a) Explain the principle of operation of three phase Induction motor.

 (5M)
(b) A 4 pole 3-phase induction motor operates from a supply whose frequency is 50Hz. Calculate

(i) The speed of the rotor when the slip is 0.04

(ii) The frequency of the rotor when the slip is 0.03 

(5M)
6.Give a brief treatise on the requirements of indicating instruments. 
  
(10M)
7.(a) Describe with suitable diagrams the principle of operation of DC generator.   (5M)
   (b) What are the advantages and disadvantages of a separately excited generator over a self excited generator?







(5M)

8. (a)  Derive a general expression for the torque developed in a 3-phase induction 
         motor.









 (5M)
(b) Explain the principle of working of permanent magnet moving coil instrument.(5M)
-- 00 -- 00 --



Regulations:


A14





Note: a)  No additional answer sheets will be provided.


          b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.


          c)  Assume any missing data.











PAGE  
Page 2 of 2

