[image: image1.jpg]



Sreenidhi Institute of Science & Technology

(An Autonomous Institution)
Code No:  101EE41
B. TECH. I – Year II – Semester Examinations, July/Aug, 2011 (Regular)
BASIC ELECTRICAL ENGINEERING (Common to ME, CSE, IT & BT)
Time:
3 Hours







     Max. Marks : 70

 
Note : No additional answer sheets will be provided.

Part-A (Objective Type)

Max.Marks:20

Answer all QUESTIONS.
1.
Explain Faraday's Laws of Electro Magnetic Induction?
2.
What is the equivalent resistance between A and D.

[image: image5.png]Bemass, b ut all aboul Taking T vight dociions




3.
If v(t) = 20 sin (50t+250) find amplitude, phase, period and frequency?

4.
Define form factor and peak factor.
5.
Draw the circuit of a dc series and shunt motor.
6.
Explain about losses in a transformer in brief?

7.
A 6600/440V, 1-( 600kvA transformer has 1200 primary turns determine


i)
transformation ratio
ii)
secondary turns.

8.
Write the relationship between line and phase quantities, in star corrected networks?

9.
A 4- pole 3-( induction motor runs at 1740 rpm calculate % slip if the supply frequency  
is 60 Hz?

10.
Explain briefly indicating and recording instruments.

Part – B  
Max. Marks: 50

ANSWER ANY FIVE QUESTIONS. 
EACH QUESTION CARRIES 10 MARKS.

1.
a)
Obtain the equivalent circuit using source transformation 

[ 5 ]
[image: image2.jpg]




b)
Calculate the current supplied by the voltage source.


[ 5 ]
[image: image3.jpg]\b\)‘l"

2\

Lza-

18n—

L 2wv—"




2.
a)
State and explain clearly about Kirchoff's laws.



[ 5 ]


b)
Solve for voltage v in figure below by using super position theorem?
 [ 5 ] 
[image: image4.jpg]



3.
a)
Obtain the phase relation between current & voltage when a resistor is 
connected across sinusoidal voltage.




[ 5 ]

b)
Calculate rms and average values of a full wave rectified sine wave whose 
maximum value is 50V.






[ 5 ]


4.
a)
How DC generators are classified?




 [ 5 ]

b)
4-pole, 220v shunt motor has 540 lap wound condoctors, it takes 40 A 
from the supply mains and develops - output power of 6 kw.  The field 
current is 1A.  The armature resistance is 0.1(, and flux per pole is 
20mwb.  Calculate i)  speed  ii) Back emf  iii) armature current?   
[ 5 ]
5.
a)
Define efficiency of a transformer.  obtain the condition for maximum 
efficiency? 








[ 5 ] 

b)
A 5 KVA 220V/1100V, 50Hz 1 transformer give the following test results.  [ 5 ]


o.c. test (LV side)
:
220V, 0.9A, 75w



s.c. test (HV side)
:
50V, 545A, 120w



calculate the parameters of the equivalent circuit referred to LV side? 

6.
a)
Distinguish between squirrel cage and slip ring induction motors.

[ 5 ]


b)
Derive an expression for the torque of an induction motor and obtain the 
condition for maximum torque.





 [ 5 ]

7.
a)
Explain the principle of operation of poly phase induction motor.

 [ 5 ]


b)
A 3-( 6-pole induction motor is supplied from a 50 hz, 400v supply calculate   [ 5 ]




i)
the synchronous speed and



ii)
the speed of the rotor when slip is 4%?

8.
a)
Explain the constructional features and operation of a PMMC instrument.
 [ 5 ]

b)
Describe various torques related to indicating instruments.


[ 5 ]


-- 00 -- 00 --
SET NO : 1





A 10








PAGE  
Page 1 of 2

