[image: image1.jpg]



Sreenidhi Institute of Science & Technology

(An Autonomous Institution)

Code No:  101EE41/111EE41
E
B. TECH. I – Year II – Semester Examinations, June/July, 2012 (Regular/Suppli)
BASIC ELECTRICAL ENGINEERING (Common to ME, CSE, IT & BT)
Time:
3 Hours







     Max. Marks : 70

 
Note : No additional answer sheets will be provided.

Part-A (Objective Type)

Max.Marks:20

Answer all QUESTIONS.
1) 
Explain about Kirchoff's Laws. 

2) 
Explain Faradays Laws of Electromagnetic induction. 

3) 
Define cycle and frequency. 

4) 
A sine wave is represented ·by the equation e=144sin(314t-((/3) calculate the frequency.  

5) 
Write the relation between applied voltage and back emf for a dc motor. 

6) 
Write the emf equation of a transformer. 

7) 
If full load cu loss of a transformer is 1600watts, its cu loss at half -full load would 
be_______________.

8) 
Define slip of 3-phase induction motor.
9) 
Write a short note on deflecting torque. 

10) 
A 6-Pole induction motor is fed by 3-( 50Hz supply and running with a full 
load 
slip of 3%, find the frequency of rotor emf. 

Part – B  

Max. Marks: 50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.

1.
a)
In the circuit of below figure find the equivalent resistance terminal A and C ? [ 5 ]

[image: image3.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






b)
State and explain superposition theorem.




[ 5 ]

2.
a)
State and explain Thevenin's Theorem.




[ 5 ]

b)
Find the Thevenin equivalent circuit of the network shown in below then find the 
current through RL for value of 9((.





[ 5 ]

[image: image2.jpg]



3.
a) 
Define the following 







[ 5 ]



i) Alternating quantity 

ii) RMS Value 

iii) Average Value 


b) 
Find the average and effective values for the function e(t)=Emsin((t 
[ 5 ] 

4.
a) 
Derive an expression for emf equation of DC Generator. 


[ 5 ]

b) 
A 4-Pole lap wound armature has 840 conductors and flux/pole of 0.018wb. 



Calculate the emf generated, when the machine is running at 500rpm. 
[ 5 ]
5.
a) 
Derive emf equation of 1-(( Transformer. 




[ 4 ] 


b) 
Explain the losses in a transformer with the help of O/C and S/C tests.
[ 6 ]
6.
a) 
Explain the Principle of Operation of 3-(( Induction motor.
 

[ 5 ]

b) 
a 3-( 6-Pole induction motor is supplied from a 50Hz, 400v supply calculate 













[ 5 ]


i) The synchronous speed and 


ii) The speed of the rotor when slip is 4%. 




[ 5 ]
7. 
a)
Derive relation between line voltage and phase voltage in a three phase start 
circuit with a neat phasor diagram.





[ 5 ]

b)
A balanced three phase load consists of three coils each of resistance 4 ( and 
inductive reactance of 6 (.  Determine the line current and power absorbed 
when the coils are 







[ 5 ]



i)
star - connected

ii)
delta - connected across 




420V, 3-phase supply



8.
a) 
Explain shunts and multipliers for the extension of range of instruments.
[ 5 ] 


b) 
Explain the significance of controlling torque and damping torque relevant to the 


operation of indicating instruments. 





[ 5 ]
-- 00 -- 00 --
SET NO : 1





A 10





C





4 (








PAGE  
Page 1 of 2

