[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS





Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4A509 






                         Date:26-Nov-16(FN)
B. TECH. III-Year I-Semester Examinations, Nov/Dec 2016 (Regular)

POWER ELECTRONICS (EEE)
Time:
3 Hours







                         Max. Marks: 70


 Note: No additional answer sheets will be provided.

Part - A 

Max.Marks:20

Answer all QUESTIONS. EACH QUESTION CARRIES 2 MARKS.
1. Define latching and holding current of SCR.
2. What is the function of snubber circuit?
3. What is the function of freewheeling diode in controlled rectifiers?
4. What are the methods of control in A.C. voltage controller?
5. What is meant by frequency modulation control in DC chopper?
6. What is the need for controlling the output voltage of an inverter?
7. Write comparisons between BJT and MOSFET.
8. What type of commutation will be used for cyclo-converters?
9. Write the expression for voltage gain for step-down chopper.
10. Mention some of applications of controlled rectifiers.
Part – B
Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
Note:- All sub-sections of a question must be answered at one place only

1
a) Describe the different modes of operation of a thyristor with the help of static characteristics.

    
b) Discuss the transfer and output characteristics of power MOSFET.

2.  
a) Discuss how SCRs suffer from unequal voltage distribution across them during their turn-ON and 


turn-OFF.

            b) Explain firing of SCR by UJT firing circuit with neat diagram.

3.  
a) Explain the operation of single-phase semi converter with RL load and derive an expression for 


average and RMS output voltage with neat wave forms.

           b) A 3-phase full converter is operated from 3-phase 400V, 50Hz supply and, load resistance is 10   


ohms. 
If average output voltage is 25% of the maximum possible average output voltage then 


determine delay angle and average load current.

4.  
a)Discuss the operation of single phase voltage controller with inductive load when firing angle greater 


than load phase angle and derive the expression for average and RMS output voltage with neat 


waveforms.

           b) Explain the operation of 1-Phase cyclo converter feeding RL load for obtaining an output frequency of 

1/3 times the supply frequency.

5   
a) A  step up chopper has input voltage of 220V DC and output voltage of 660V and conducting time of 


chopper is 100µs. If pulse width of output voltage is halved for constant frequency operation, 


find the average value of new output voltage.

            b) Explain the principle of operation of Jone’s chopper with neat sketches.

6.   
a) Describe the working of a basic  series inverter with appropriate circuit and wave forms. State its 


limitation.

      
b) Explain voltage control within the inverter by suitable methods.

7.  
a) Explain turn-OFF process of SCR with suitable diagram.

       
b) Discuss the Effect of source inductance on performance of converters.

8.  
Write short notes on

      
a)  Full bridge inverter operation with R-load

     
b) Step down DC-DC converters.                           -- 00 -- 00 --



Regulations:


A14








PAGE  
Page 1 of 1

