[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A715     






     Date: 21-Dec-2018 (FN)
B.Tech IV-Year I-Semester End External Examination, Nov/Dec - 2018 (Regular)

Renewable Sources of Energy (EEE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What is meant by renewable energy source?  Explain briefly these resources with reference to Indian context.
	[3M]

	2.
	What is the principle of Solar Photovoltaic power generation? 


	[3M]

	3.
	How do you get biogas from plant wastes? 





	[3M]

	4.
	What are the different types of geothermal resources?



	[3M]

	5.
	What is the main difference between tide and wave?




	[3M]

	6.
	List the various direct energy conversion devices.




	[2M]

	7.
	Define solar constant.








	[2M]

	8.
	Write short notes on Biogas for IC Engine.





	[2M]

	9.
	What is Hall effect?







	[2M]

	10.
	Explain the importance of Solar energy in the present-day energy crisis?
	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Explain the limitations of solar energy in India.                                                
	[5M]

	
	b)
	Explain in detail the different types of solar energy measuring instruments.

	[5M]

	
	
	
	

	12.
	a)
	What is a solar pond? Explain it with a suitable sketch.
	[5M]

	
	b)
	How is energy stored in solar pond? Explain its mechanism with a neat diagram.
	[5M]

	
	
	
	

	13.
	a)
	Explain the architecture of a wind energy conversion system with a neat block diagram.
	[5M]

	
	b)
	Describe the horizontal & vertical axis wind turbine configurations with neat sketches.  
	[5M]

	
	
	
	

	14.
	a)
	Estimate the energy potential in hot dry rock geothermal resource. What are the difficulties in extraction for power production?
	[5M]

	
	b)
	Describe with the help of a sketch the method of converting the vapor dominated geothermal system into power.
	[5M]

	
	
	
	

	15.
	a)
	Explain the working of ocean thermal energy conversion (OTEC) plant. 


	[5M]

	
	b)
	Discuss the various equipment for the establishment of an off shore OTEC system.
	[5M]

	
	
	
	

	16.
	
	Discuss the direct and indirect energy conversion systems emphasizing on the advantages and limitations of each.
	[10M]

	
	
	
	

	17.
	a)
	Explain the working of pyranometer and Sunshine recorder.   
	[5M]

	
	b)
	Distinguish between flat plate and concentrated collector.        
	[3M]

	
	c)
	 Differentiate between biomass and biogas. 



	[2M]

	
	
	
	

	18.
	a)
	Discuss the reasons for tide formation.       




	[3M]

	
	b)
	Explain working principle of MHD generator with near sketch. 
	[5M]

	
	c)
	Discuss about geothermal energy potential in India. 



	[2M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

