[image: image10.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A304    






                  Date: 22-June-2019 (AN)
B.Tech II Year I-Semester External Examination, June-2019 (Supplementary)

CIRCUITS and NETWORKS- II (EEE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What is the relationship between line quantities and phase quantities in a 3-phase system.
	[3M]

	2.
	When a series RL circuit is connected to a constant voltage at t=0, what is the current passing through the circuit at t=0+?


	[3M]

	3.
	What are the properties of the driving point function?
	[3M]

	4.
	Express ABCD-parameters in Z-parameters.
	[3M]

	5.
	Draw the constant-K  band stop filter.
	[3M]

	6.
	Compare Laplace and Fourier transforms in detail.
	[2M]

	7.
	What is the condition for half wave symmetry?
	[2M]

	8.
	In which three phase system the harmonics that are produced are circulated inside.
	[2M]

	9.
	Define a port. Why two port network is more important?
	[2M]

	10.
	What do you meant by a pole and zero of a function?
	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	What are the advantages of three phase system.
	[3M]

	
	b)
	A delta connected load when each phase has an impedance of 130
[image: image1.wmf]0

5

.

67

-

Ð

in each phase. Find the magnitude and phase of all line currents If it supplies phase voltage of  390
[image: image2.wmf]V

0

30

Ð


	[7M]

	
	
	
	

	12.
	a)
	Find the complete response v and then i for t > 0 in the circuit shown below.
[image: image3.emf]

	[8M]

	
	b)
	What is the need to study transient behavior of the network
	[2M]

	
	
	
	

	13.
	a)
	Find the transform admittance of the network

[image: image4.jpg]




	[5M]

	
	b)
	transfer function is given by  [image: image6.png]- 105
v(s) = (S+5+j15)(S+5-j15)



 find the time domain response
	[5M]

	
	
	
	

	14.
	a)
	Two networks have been shown below. Obtain the transmission parameters of the resultant network.
[image: image7.jpg]100 100

100






	[5M]

	
	b)
	Obtain the Z-parameters for the network shown below.
[image: image8.jpg]1, R a-av)

fl §M%
i






	[5M]

	
	
	
	

	15.
	a)
	Design a T-section high pass filter having a cutoff frequency 10KHz and design resistance 

R0 = 600Ω. Find its characteristics impedances and phase constant at 25KHz
	[5M]

	
	b)
	Design  a constant-K high pass filter has a design impedance R0 =600Ω, fC =4KHz. (π-section)
	[5M]

	
	
	
	

	16.
	a)
	Find the Fourier series expansion of the Full rectified  sine wave.
	[7M]

	
	b)
	Write a short note on consideration of symmetry.
	[3M]

	
	
	
	

	17.
	a)
	The unbalanced Y-load has balanced voltages of 100 V and the acb sequence. Calculate the line currents and the neutral current. Take ZA = 15 Ω, ZB = 10 + j5 Ω, and ZC  = 6 -j8 Ω.
	[5M]

	
	b)
	For the circuit below the switch  has been closed for a long time. It is open at t=0. Find i(0+), v(0+),first derivative of i(0+) and v(0+).
[image: image9.emf]

	[5M]

	
	
	
	

	18.
	a)
	Design K-type band pass filter having a design impedance of 500Ω and cut-off frequencies 1KHz and 10KHz.
	[7M]

	
	b)
	What is the major difference between M-derived and K-derived filters.
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

_1622711079.unknown

_1622711080.unknown

