[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4AC42    





                  
         Date: 28-May-2019 (FN)
B.Tech II-Year II-Semester External Examination, May/June-2019 (Supplementary)

ELECTRICAL TECHNOLOGY (ECM)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:20
Answer all QUESTIONS.
	1.
	Explain the critical resistance of D.C Generator.
	[2M]

	2.
	What is the function of 3- point starter?
	[2M]

	3.
	List out various types of Losses in a transformer.
	[2M]

	4.
	State the condition for maximum starting for induction motor.
	[2M]

	5.
	Explain the synchronous reactance of the alternator.
	[2M]

	6.
	List out the Types of capacitor start single phase motor.
	[2M]

	7.
	Draw the OCC at different speeds for dc generator.
	[2M]

	8.
	Define regulation of a transformer.
	[2M]

	9.
	Give the applications of A.C series motor.
	[2M]

	10.
	What is the drawback of synchronous impedance method? 
	[2M]









Part – B



   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Draw and explain the Constructional diagram of DC generator.
	[5M]

	
	b)
	Derive the emf equation of a D.C generator.
	[5M]

	
	
	
	

	12.
	a)
	A 220V D.C shunt motor runs at 510 rpm when the armature current is 50A.Calculate the speed if the torque is doubled. Given that Ra = 0.2ohm.
	[5M]

	
	b)
	Explain the speed control method of D.C motor with flux control.
	[5M]

	
	
	
	

	13.
	
	When a transformer is connected to a 1000V, 50Hz supply the core loss is 1000W, of which 650 is hysteresis and 350 is eddy current loss. If the applied voltage is raised to2000V and the frequency to 100Hz, find the new core loss?
	[10M]

	
	
	
	

	14.
	a)
	Explain the torque- speed characteristics of 3-phase induction motor?
	[5M]

	
	b)
	A 12 pole, 3-phase alternator driven at a speed of 500rpm supplies power to an 8-pole, 3-phase induction motor. If the slip of the motor, at full load is 3%, calculate the full load speed of the motor.
	[5M]

	
	
	
	

	15.
	a)
	Derive the emf equation of a synchronous generator?
	[5M]

	
	b)
	The following test results are obtained from a 3-phase, 6000-KVA, 6600V star-connected, 2-pole, 50Hz turbo-alternator: With a field current of 125A, the open circuit voltage is 8000V at the rated speed. With the same field current and rated speed, the short circuit current is 800A.At the rated full load, the resistance drop is 3%.Find the regulation of the alternator on full load and at a power factor of 0.8 lagging.
	[5M]

	
	
	
	

	16.
	a)
	Explain the principle of operation of A.C series motor.
	[5M]

	
	b)
	Demonstrate double field revolving theory.
	[5M]

	
	
	
	

	17.
	a)
	Explain the Load characteristics of shunt generator.
	[4M]

	
	b)
	Describe the Armature voltage control method of speed control.
	[3M]

	
	c)
	List the various types in a transformer.
	[3M]

	
	
	
	

	18.
	a)
	Explain various types of induction motors.
	[4M]

	
	b)
	Explain the principle of operation of synchronous motor.
	[3M]

	
	c)
	Discuss the applications of universal motor.


	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A14











PAGE  
Page 1 of 2

