[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A510       





                  Date: 01-June-2019 (AN)
B.Tech III-Year I-Semester External Examination, May/June-2019 (Supplementary)

POWER SYSTEMS-II (EEE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What are the causes of low power factor in power system?
	[3M]

	2.
	Define load duration curve and demand factor.
	[3M]

	3.
	What are the advantages of Gas insulated substation?
	[3M]

	4.
	Define the short circuit capacity of a bus.
	[3M]

	5.
	Define positive, negative and zero sequence components.
	[3M]

	6.
	Classify different DC distribution systems are classified.
	[2M]

	7.
	Define Flat Rate Tariff.
	[2M]

	8.
	What is meant by neutral grounding?
	[2M]

	9.
	Classify different types of faults.
	[2M]

	10.
	What are the advantages of sectionalized bus bar?
	[2M]









Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Explain the necessity of power factor improvement.
	[5M]

	
	b)
	Explain briefly about the tap changing transformers.
	[5M]

	
	
	
	

	12.
	a)
	A factory has a maximum load of 400kW at 0.8p.f and annual consumption of 4x106 units . The tariff is Rs. 400 per kVA of maximum demand plus 30 paisa per unit. Find out the average price per unit.
	[5M]

	
	b)
	What are the desirable characteristics of a tariff method?
	[5M]

	
	
	
	

	13.
	a)
	Classify different substations and Explain. 



	[5M]

	
	b)
	Explain Main and Transfer bus system with a neat diagram.
	[5M]

	
	
	
	

	14.
	a)
	Explain the importance of Per Unit System.
	[5M]

	
	b)
	A generator rated at 40MVA, 11kV has a reactance of 20%. Calculate its per unit reactance for the base of 50MVA, 10kV?
	[5M]

	
	
	
	

	15.
	a)
	Derive the expressions for voltages and current for a Single Line-to-Ground fault on a power system.
	[5M]

	
	b)
	Draw the positive, negative and zero sequence network of all power system components.
	[5M]

	
	
	
	

	16.
	a)
	Discuss the design features of Distribution Systems.

	[5M]

	
	b)
	Distinguish between AC and DC Distribution systems.
	[5M]

	
	
	
	

	17.
	a)
	Explain with neat sketch operation of Booster Transformer.

	[3M]

	
	b)
	What is meant by tariff? Explain about two and three-part tariff. 
	[4M]

	
	c)
	Discuss in detail about arcing grounding. 



	[3M]

	
	
	
	

	18.
	
	A 300MVA, 20kV, 3-phase generator has a sub-transient reactance of 15%. The generator supplies two synchronous motors through a 100km transmission line having transformers at both ends as shown below figure. 
[image: image1.png]A 300 MVA, 20 KV, 3-® generator has a subtransient reactance of 15%. The
generator supplies 2 synchronous motors through a 100 km transmission line
having transformers at both ends as shown below figure. In this , Ty is a 3-®
transformer with 350 MVA, 20/230 kV, 10% reactance and T2 is made of 3
single phase transformers of rating 100 MVA 127 / 13.2 kV, 10% reactance.
Series reactance of transmission lines are line one ; L1 is 0.55Q / km, line 2 Ly is
0.44 Q/km.

Motors :
Mi: 200 MVA, 13.2kV, X =20%
M;: 120 MVA  13.2kV, X =20%

Draw the reactance diagram will all the reactances marked in p.u. select the
generator rating as base values.





In this T1 is a 3-phase transformer with 350MVA, 20/230 kV, 10% reactance and T2 is made of 3 single phase transformers of rating 100MVA 127/13.2 kV, 10% reactance. 

Series reactance of transmission lines line L1 is 0.55 ohm/km, line L2 is 0.44 ohm/km.             

Motors: M1: 200 MVA, 13.2 kV, X=20%, M2: 120 MVA, 13.2 kV, X=20%. 
	

	
	a)
	Draw the reactance diagram with all the reactance’s marked in p.u. Select the generator rating as base values.
	[4M]

	
	b)
	What are the symmetrical components of 3-phase system?


	[3M]

	
	c)
	Compare underground cable and overhead line distribution system? 
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 2

