[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A613               






       Date: 07-June-2019 (FN)
B.Tech III-Year II-Semester External Examination, May/June-2019 (Supplementary)

POWER SEMI CONDUCTOR DRIVES (EEE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	Draw the output voltage(Va) waveform of three phase fully-controlled  converter fed DCs separately excited motor during motoring operation for α = 30o . 
	[3M]

	2.
	Write any three different multi quadrant schemes of DC separately excited motor fed from fully controlled rectifiers.
	[3M]

	3.
	Write any three features of a chopper fed DC series motor. 
	[3M]

	4.
	Draw the diagram representation of various methods of Voltage source inverter controlled Induction motors.
	[3M]

	5.
	Explain about conventional rotor resistance control method of induction motor. 
	[3M]

	6.
	Draw the circuit diagram for self controlled synchronous motor fed from a Cyclo-converter (Bridge converter mode) .
	[2M]

	7.
	Draw the comparison of torque-current curves of DC separately excited motor, DC series motor and DC compound motor for rated voltage and full field voltage.
	[2M]

	8.
	Draw the circuit diagram for regenerative braking of separately excited DC motor fed by chopper control.
	[2M]

	9.
	Draw the block diagram for closed loop control of static Scherbius drive induction motor. 
	[2M]

	10.
	Write any three different speed controlled methods of DC motors.
	[2M]










Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	
	A 200V, 10.5A , 1500 rpm shunt motor has the armature and field resistance of 0.5Ω and 400Ω respectively. It drives a load whose torque is constant at rated motor torque. Calculate motor speed if the source voltage drops to 175V. 
	[10M]

	
	
	
	

	12.
	
	A 220V , 1500rpm , 50A separately excited DC motor with armature resistance of 0.5Ω is fed from a circulating current mode Dual converter with ac source voltage(line) = 165V. Determine converter firing angle for the following operating points. 
(i) Motoring operation at rated motor torque and (-900)rpm, 
(ii) braking operation at rated motor torque and 150rpm.
	[10M]

	
	
	
	

	13.
	
	Explain the motoring control mode of chopper control fed separately excited DC motor with the help of necessary circuit diagram, waveform and equations. 
	[10M]

	
	
	
	

	14.
	
	Explain the operation of half wave Cyclo-converter fed induction motor with help of necessary circuit diagram and waveforms.
	[10M]

	
	
	
	

	15.
	
	Explain the operation of static Kramer drive method of control for induction motor. 
	[10M]

	
	
	
	

	16.
	
	Explain briefly about the operation of  
(i) open loop control of synchronous motor (separate control) and  
(ii)variable frequency synchronous motor drive (self controlled synchronous motor)     

with the help of necessary block diagrams. 
	[10M]

	
	
	
	

	17.
	
	A 200V , 875rpm, 150A separately excited  DC motor has armature resistance of 0.06Ω. It is fed from a single phase fully –controlled rectifier with an ac source voltage of 220V, 50Hz. Assuming continuous conduction mode. 
Calculate 
(i) firing angle for rated torque and 700rpm and 
(ii) firing angle for rated torque and (-525) rpm.
	[10M]

	
	
	
	

	18.
	
	Star connected squirrel-cage induction motor has the following parameters: 
1370 rpm, 400V, 50Hz, 4-pole, Rs = 2Ω, Rr’ = 3Ω, Xs = Xr’ = 3.5Ω, Xm = 55Ω. 
It is controlled by a current source inverter at a constant flux. Calculate motor torque, speed and stator current when operating at 30 Hz and rated slip speed.
	[10M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 2

