[image: image3.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A714    






                Date: 11-May-2019 (AN)
B.Tech IV-Year I-Semester External Examination, May-2019 (Supplementary)

Power System Analysis and Control (EEE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	Discuss the ways of adding impedance to an existing system to modify Zbus matrix?
	[3M]

	2.
	Show that real power depends on frequency and independent of reactive power.
  
	[3M]

	3.
	What is the function of PI controller in LFC system?


	[3M]

	4.
	Describe the classification of buses.




	[3M]

	5.
	What are the essential factors affecting the stability?


	[3M]

	6.
	Define the incremental fuel and production costs.


	[2M]

	7.
	Define the concept control area.





	[2M]

	8.
	Write the advantages of Newton Raphson method.


	[2M]

	9.
	What is the need of optimal scheduling of hydrothermal system?
	[2M]

	10.
	Define synchronizing power coefficient. What is its significance? 
	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Define the following terms with suitable examples.
i)Graph   ii) Tree   iii) Co-Tree    iv) Cut-set matrix    v) Basic cut-set
	[5M]

	
	b)
	For the system shown below, Obtain Ybus by direct inspection method. Take bus (1) as reference. The element impedances are indicated in p.u.
[image: image1.emf]
	[5M]

	
	
	
	

	12.
	a)
	Explain the functional operation of speed governing system with neat sketch.
	[5M]

	
	b)
	A 100 MW unit with 0.05 p.u turbine regulation operates in parallel with a 500 MW unit of identical turbine regulation for a specific amount of power demand increase. Find the ratio of sharing of the load by the units if the system frequency is 50Hz.
	[5M]

	
	
	
	

	13.
	
	Draw the block diagram for a two-area Load Frequency Control with integral controller blocks and explain each block.
	[10M]

	
	
	
	

	14.
	a)
	Derive general expression for static power flow equations for ‘n’ number buses.
	[4M]

	
	b)
	Compare Gauss-Seidel, Newton Raphson, Decoupled and Fast decoupled methods with respect to

          i) Number of iterations   ii) Convergence characteristics   iii) Initial values
	[6M]

	
	
	
	

	15.
	a)
	Explain the terms    i)Transient stability   ii)Dynamic stability
	[5M]

	
	b)
	A 200 MVA, 2 pole, 50 Hz alternator has a moment of inertia of 50000 Kg-m2. What is the energy stored in the rotor at the rated speed? Find the value of H and determine the corresponding angular momentum.
	[5M]

	
	
	
	

	16.
	a)
	Obtain the economic operation schedule for three thermal units delivering a total load of 750 MW by considering with and without generator limits.   
   Unit1: Pmax=600 MW Pmin=150 MW,  F1(P1) = 570 + 7.5P1 +  0.0017P12  Rs/hr

   Unit2: Pmax=500 MW Pmin=125 MW,  F2(P2) = 380 + 7.8P2 +  0.002P22  Rs/hr
   Unit3: Pmax=500 MW Pmin=125 MW,  F3(P3) = 200 + 7.9P3 +  0.005P32  Rs/hr

	[6M]

	
	b)
	Give various uses of general loss formula and state the assumptions made for calculating Bmn coefficients.
	[4M]

	
	
	
	

	17.
	a)
	What is fundamental cut-set? Obtain cut-set matrix for the following graph.
[image: image2.png]



	[4M]

	
	b)
	Two generators of rating 125 and 250MW are operated with droop characteristics of 4% and 5% respectively from no load to full load. Find the load sharing by each generator if a load of 300MW is connected across the parallel combination of those generators.
	[3M]

	
	c)
	Draw the block diagram of load frequency control and economic dispatch control.
	[3M]

	
	
	
	

	18.
	a)
	What are the assumptions in static load flow equations and derive the approximate load flow equations.
	[4M]

	
	b)
	List out the various applications of Equal are criterion.
	[3M]

	
	c)
	Sketch the heat rate curve and cost curve of thermal power plants and explain the significance of them.
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

