[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5B737    






                Date: 14-May-2019 (AN)
B.Tech IV-Year I-Semester External Examination, May-2019 (Supplementary)

Renewable Energy Systems (ME)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	Distinguish between Beam and Diffuse radiation.



	[3M]

	2.
	What is the composition of biogas?





	[3M]

	3.
	List the applications and advantages of bio gas.



	[3M]

	4.
	Derive the expression for power developed due to wind.


	[3M]

	5.
	Classify various geothermal sources.





	[3M]

	6.
	What is mean by thermal decomposition of water?



	[2M]

	7.
	List the factors essential in selecting a bio gas plant.



	[2M]

	8.
	Distinguish between fixed dome digester and floating drum digester.
	[2M]

	9.
	List main components of a typical fuel cell.




	[2M]

	10.
	Compare bio gas with hydrogen in power generation field. 


	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Describe the working of solar pond with a line diagram.         



	[4M]

	
	b)
	Explain the applications of solar energy for water heating and power generation. 
	[6M]

	
	
	
	

	12.
	a)
	Describe the advantages of anaerobic digestion. 
	[5M]

	
	b)
	Discuss the factors affecting Biodigestion.   

	[5M]

	
	
	
	

	13.
	a)
	Explain the process photosynthesis what are the conditions required for it?
	[4M]

	
	b)
	How are Gasifiers classified? What is pyrolysis?   




	[6M]

	
	
	
	

	14.
	a)
	Wind at 1bar pressure, temperature 20ºC has a velocity of 15.5m/sec. the wind turbine has a diameter of 110m and its operating speed is 60rpm at maximum efficiency. Estimate i)the maximum available power density by considering efficiency of the plant 55%  ii) The total power produced.
	[6M]

	
	b)
	Describe the working of horizontal axis wind turbine.
	[4M]

	
	
	
	

	15.
	a)
	Explain a binary cycle system for liquid dominated system. 



	[5M]

	
	b)
	Discuss the applications of geothermal energy and its prospects in India. 
	[5M]

	
	
	
	

	16.
	a)
	Describe any two methods of hydrogen production in detail.  
	[6M]

	
	b)
	Explain material compatibility for hydrogen.     


	[4M]

	
	
	
	

	17.
	a)
	Discuss any one thermal energy storage system.     

	[3M]

	
	b)
	Compare the properties of bio fuels and bio diesels.  
	[3M]

	
	c)
	Sketch any one bio gas digester and label the parts.   
	[4M]

	
	
	
	

	18.
	a)
	Compare vertical axis wind turbine with horizontal axis wind turbine.  
	[4M]

	
	b)
	Sketch Hot dry rock power plant and label the parts. 


	[3M]

	
	c)
	Explain the working principle of fuel cell.     




	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

