[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5B847    






                  Date: 08-May-2019 (FN)
B.Tech IV-Year II-Semester External Examination, May-2019 (Regular)

Power Plant Engineering (Me)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What are the key issues in augmenting power supply?
	[3M]

	2.
	Draw the layout of pulverized coal handling plan showing all required equipments
	[3M]

	3.
	What is the function of lubrication system?
	[3M]

	4.
	What safety measures need to be taken for the safe operation of an hydro-electric plant?
	[3M]

	5.
	Explain briefly the following terms relating to radioactive.


i. Activity and 
ii. Average mean life.
	[3M]

	6.
	What is Diversity factor?
	[2M]

	7.
	Give general layout of ash handling system.
	[2M]

	8.
	Write a short note on Supercharging.
	[2M]

	9.
	Define demand factor and load factor.
	[2M]

	10.
	What is a catchment area?
	[2M]











Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	What are the essential requirements of steam power plant design?
	[5M]

	
	b)
	What are the requirements of steam piping system?
	[5M]

	
	
	
	

	12.
	a)
	Write  a short notes on retort stokers.
	[6M]

	
	b)
	Explain with the help of diagram the working of cyclone separator.
	[4M]

	
	
	
	

	13.
	a)
	List the essential components of a diesel power plant and explain them briefly.
	[5M]

	
	b)
	State the merits of gas turbines over IC engines and steam turbines. Discuss the demerits of the gas turbines.
	[5M]

	
	
	
	

	14.
	
	The following data related to Francis turbine:

Net head = 70m,  speed = 700rpm, shaft power =330kW, overall efficiency = 85%, Hydraulic efficiency = 92%, flow ratio = 0.22, breadth ratio = 0.1, outer diameter of the runner is two times the inner diameter, velocity of is constant and the outlet discharge is in radial direction. The thickness of vanes occupy 6% of circumferential area of the runner. Determine 

i. Guide blade angle

ii. Runner vane angles at inlet and outlet.

iii. Diameter of runner at inlet and outlet and 

iv. Width of the wheel at inlet.
	[10M]

	
	
	
	

	15.
	a)
	Write down the advantages and disadvantages of Photovoltaic Solar Energy Conversion.
	[5M]

	
	b)
	Explain with a real diagram of a wind electric generating power plant.
	[5M]

	
	
	
	

	16.
	a)
	A generating station has a maximum demand  of 30MW, a load factor of 0.6, a plant capacity of 0.48 and a plant use factor of 0.82 . Find i) The daily energy produced,
 ii) Reverse capacity of the plant and iii) The maximum energy that could be produced if the plant were running all the time.

	[5M]

	
	b)
	Describe briefly with the help of a neat sketch of wet scrubber used for removing SO2.
	[5M]

	
	
	
	

	17.
	a)
	What are the uses of ash and dust?
	[3M]

	
	b)
	How are boilers classified? Explain anyone with neat sketch.
	[4M]

	
	c)
	How are gas turbine power plants classified?
	[3M]

	
	
	
	

	18.
	a)
	What are the functions of a draft tube?
	[3M]

	
	b)
	A nuclear reactor consumes 10kg of U235 per day. Calculate its power output if the average energy released per U-235 fission is 200MeV.
	[3M]

	
	c)
	What is particulate emission? How is it controlled?
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

