[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:5AC44





                  
      Date: 29-Jan-2020 (AN)
B.Tech III-Year II-Semester External Examination, Jan/Feb - 2020 (Supplementary)

FUNDAMENTALS OF MEASUREMENTS AND INSTRUMENTATION (ME)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	How to produce damping torque in indicating instruments?
	[3M]

	2.
	Draw any one single phase power factor meter.
	[3M]

	3.
	How to extend the range of wattmeter using instrument transformers.
	[3M]

	4.
	Draw Anderson bridge along with it’s voltage and current phasors.
	[3M]

	5.
	What are the applications of wave & frequency analyzers?
	[3M]

	6.
	Define electrical transducer. Name few such transducers.
	[2M]

	7.
	What is meant by sensitivity of the instrument?
	[2M]

	8.
	Draw Hay’s bridge.
	[2M]

	9.
	Explain about thermocouples in short.
	[2M]

	10.
	What is the working principle of Digital Voltmeter?
	[2M]







Part – B



   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Explain construction and working principle of Moving Iron instruments.
	[5M]

	
	b)
	The coil of the 300 V moving iron voltmeter has a resistance of 500 Ohms and inductance of 0.8H. The instrument reads correctly at 50 Hz A.C Supply and takes 100m.A at full scale deflection. What is the percentage error in the instrument reading, when it is connected to 200V D.C supply
	[5M]

	
	
	
	

	12.
	a)
	Derive the expression for phase angle error and ratio error in Potential Transformers.
	[5M]

	
	b)
	What are the various reasons to obtain the errors in Potential Transformers?
	[5M]

	
	
	
	

	13.
	a)
	Derive the expression for torque produced by single phase induction type energy meter.
	[5M]

	
	b)
	Explain two wattmeter method to measure the 3-Phase unbalanced active power.
	[5M]

	
	
	
	

	14.
	a)
	Draw the Maxwell’s Inductance Bridge. Derive the expression for unknown inductance.
	[5M]

	
	b)
	How do you measure the unknown capacitance? draw the circuit diagram and equations
	[5M]

	
	
	
	

	15.
	a)
	How to measure the frequency and Phase using CRO ? draw necessary block diagrams
	[5M]

	
	b)
	What are harmonic analyzers? 
	[5M]

	
	
	
	

	16.
	a)
	How do you measure the acceleration? Explain any one method in detail.
	[5M]

	
	b)
	What is LVDT? Explain it’s principle of Operation.
	[5M]

	
	
	
	

	17.
	a)
	What is the significance of Measurement?
	[4M]

	
	b)
	What is meant by burden in an instrument transformer? What is it’s effect on measurement of the quantity?
	[3M]

	
	c)
	What is meant by Phantom loading? What is it’s significance?
	[3M]

	
	
	
	

	18.
	a)
	How to measure the high resistance?
	[4M]

	
	b)
	What is Q-meter? Explain it’s principle of operation.
	[3M]

	
	c)
	What are Piezo-electric transducers?
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

