[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A727    






          
        Date: 18-Dec-2019 (AN)
B.Tech IV-Year I-Semester External Examination, December - 2019 (Regular)

Reactive Power Compensation & Management (EEE)
Time:
3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.








Part - A 



Max.Marks:25
Answer all QUESTIONS.
	1.
	What is reactive power? How it effect the system voltage, in a power system?

	[3M]

	2.
	Write about synchronous condensers.                                                                    
	[3M]

	3.
	What are harmonics and list the causes of harmonics?                                       
	[3M]

	4.
	Write a short note on Power Tariffs.                          





	[3M]

	5.
	List the type of capacitors used in reactive power management.   



	[3M]

	6.
	What are the reactive power control requirements in electric traction systems?

	[2M]

	7.
	What are the methods of reactive power compensation?       




	[2M]

	8.
	What is a load pattern?









	[2M]

	9.
	What is a furnace transformer?








	[2M]

	10.
	What are the power factor methods used in power systems?         



	[2M]










Part – B


   
 Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	11.
	a)
	Discuss the objectives of Load balancing and power factor correction.                       
	[5M]

	
	b)
	Draw and explain reactive power characteristics of a load compensation system. 
	[5M]

	
	
	
	

	12.
	a)
	What are the objectives of series capacitor compensation?                                           
	[5M]

	
	b)
	Explain how synchronous condensers aid reactive power compensation. 
	[5M]

	
	
	
	

	13.
	a)
	What is the effect of harmonics on power system performance?                                
	[5M]

	
	b)
	What are the main objectives of reactive power coordination in a power system? 
	[5M]

	
	
	
	

	14.
	a)
	Write about reactive power management –planning and its objectives.
	[5M]

	
	b)
	Explain about retrofitting of capacitor banks.                                               
	[5M]

	
	
	
	

	15.
	a)
	What are the KVAR requirements for domestic appliances with examples?
	[5M]

	
	b)
	What is the purpose of using capacitors for reactive power compensation and how to select them?
	[5M]

	
	
	
	

	16.
	a)
	How reactive power compensation is obtained by distribution transformers in electric traction systems?
	[5M]

	
	b)
	Draw the typical layout of traction system and explain its operation in brief.
	[5M]

	
	
	
	

	17.
	a)
	Draw the Phasor diagrams of inductive and capacitive biasing.
	[3M]

	
	b)
	Write the classification of types of compensation in steady state and transient state 

of a power system.
	[4M]

	
	c)
	What is the effect of under voltage in a power system?
	[3M]

	
	
	
	

	18.
	a)
	Define Voltage flicker and represent it using a diagram.                  
	[3M]

	
	b)
	Define KVAR and its importance at user side in a power system.   
	[4M]

	
	c)
	What are distribution transformers?                                                    
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15



































PAGE  
Page 1 of 1

