[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A304





                 
      Date: 28-Oct-2020 (FN)
B.Tech II-Year I-Semester External Examination, October - 2020 (Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS – II (EEE)
Time:
 2 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

	1.
	a)
	Derive the relationship between a line voltage and phase voltage related to a star connected load.
	[7M]

	
	b)
	Each phase of a balanced star connected load consists of R=10Ω and C=10µF. calculate the line current and total real and reactive powers when a symmetrical 400V, 50Hz, 3-phase supply is applied to it. If two watt meters are employed to measure total power, what will be the readings of the two watt meters.
	[7M]

	
	
	
	


	2.
	a)
	Explain the transient response of R-L-C Series circuit excited by DC Source.(Step response of R-L-C series circuit).Use differential equation method.
	[7M]

	
	b)
	Find the expression for the current in a series RLC circuit fed by a DC voltage of 20V with R=4Ω, L=1H and C=1/4 F. Assume initial conditions to be zero.
	[7M]

	
	
	
	

	3.
	a)
	Write the necessary conditions for transfer functions.
	[7M]

	
	b)
	Draw the pole zero diagram for the given network function I(s) and hence obtain i(t).
                                         I(s) = [image: image2.png]205
(s+5)(s+2)





	[7M]

	
	
	
	

	4.
	a)
	Derive the relation to express Z-parameters interms of Y-parameters and Y-parameters interms of Z-parameters.
	[7M]

	
	b)
	Find transmission parameters of the network shown in the figure. 


[image: image3.png]



	[7M]

	
	
	
	

	5.
	a)
	Design constant-k prototype LPF with necessity equations.
	[7M]

	
	b)
	Design constant-k band pass filter with necessity equations
	[7M]

	
	
	
	

	6.
	a)
	Calculate the Fourier series for the function shown in below figure.


[image: image4.png]



	[7M]

	
	b)
	Write Fourier transform of a train of impulse.
	[7M]

	
	
	
	

	7.
	a)
	What are the advantages of a three phase system?
	[7M]

	
	b)
	Find the current in a series R-L circuit having R=2Ω and L=10H while a DC voltage of 100V is applied. What is the value of this current after 5 sec. of switching on?
	[7M]

	
	
	
	

	8.
	a)
	Derive the condition of symmetry for z-parameters and y-parameters.
	[7M]

	
	b)
	What is filter? Define pass band, stop band and cut off frequency.
	[7M]

	
	
	
	


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1633384189

_1633381413

