[image: image1.png]Fig. 1





Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:4AC41   





                 
          Date: 31-Oct-2020 (FN)
B.Tech II-Year I-Semester External Examination, October - 2020 (Supplementary)
BASIC ELECTRICAL ENGINEERING (ME,CSE and IT)

Time:
 2 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

	1.
	a)
	Calculate current in the 1Ω resistor in fig.1 using superposition theorem.

[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS





	[7M]

	
	b)
	State and explain Maximum Power Transfer Theorem with an example.
	[7M]

	
	
	
	

	2.
	a)
	Define the following terms w.r.t  AC  waveforms. 
(i) frequency
(ii) average value
(iii) r.m.s value
(iv)phasor
(v) form factor.
	[7M]

	
	b)
	A coil has a resistance of 5Ω and draws a current of 20A when connected across a 260V, 50 Hz supply. Determine (i) Inductance of the coil (ii) power factor of the circuit (iii) reactive power.  Draw the phasor diagram.
	[7M]

	
	
	
	

	3.
	a)
	Derive the expression for torque of a DC motor.
	[7M]

	
	b)
	A DC shunt generator has a full load output of 10 KW at a terminal voltage of 200V. The armature and shunt field winding resistance are 0.1Ω and 200Ω respectively. Stray losses are 800W. Determine the efficiency.
	[7M]

	
	
	
	

	4.
	a)
	Explain the construction and working of a single phase transformer with a neat diagram.
	[7M]

	
	b)
	A 25 KVA , 2500/250 volts, 50Hz single phase transformer gave the following test results 

OC Test (LV side) :250V, 4A, 150W

SC Test( HV side) :90V, 10A, 350W

Determine the efficiency and Regulation at full load, 0.8 pf lag.

	[7M]

	
	
	
	

	5.
	a)
	A balanced star connected load of (9+j12) Ω is connected to 3-Phase , 415V supply. Find the line current, power factor active power, reactive power and apparent power.
	[7M]

	
	b)
	An 8- pole induction motor fed from 50 Hz supply runs at 720 rpm. 
Determine 
(i) Synchronous speed 
(ii)slip speed 
(iii) per unit slip
 (iv) percentage slip 
(v) frequency of rotor currents.
	[7M]

	
	
	
	

	6.
	a)
	Explain the various  methods of providing Controlling Torque in indicating instruments. List their advantages and disadvantages.
	[7M]

	
	b)
	Explain the working of an MI instrument with a neat diagram.
	[7M]

	
	
	
	

	7.
	a)
	State and Explain Thevenin’s Theorem with an example.
	[7M]

	
	b)
	Derive the expressions for r.m.s value and average values  of  a sine wave.
	[7M]

	
	
	
	

	8.
	a)
	Derive the expressions for converting a delta network to a star network.
	[7M]

	
	b)
	Explain how the range of a PMMC voltmeter can be extended with an example.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A14











PAGE  
Page 1 of 2

