[image: image1.png]91

4.0

6

248

Fig 1y





Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC41 





                 
      Date: 10-Oct-2020 (FN)
B.Tech II-Year I-Semester External Examination, October - 2020 (Supplementary)
BASIC ELECTRICAL ENGINEERING (CSE and IT)
Time:
 2 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.
	1.
	a)
	Determine the number of nodes and branches for circuit shown in below figure and also find the   current in each branch. 






[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS




            
	[7M]

	
	b)
	Find the equivalent resistance between the terminals AB in the below figure.




[image: image2.png][ [ ‘ ‘ 1 { 10ES34

ird Semester B.E. Degree Examination, Dec. 2013/Jan. 2014
» Network Analysis
Max. Marks:100

Note: Answer FIVE full questions, selecting
atleast TWO questions from each part. Q’\\\ .

PART -A

i Find he equivalent resistance at AB using Y - A transformation technique f‘&tPe‘ circuit
‘(3hown in Fig. Q1(a). (All the resistors connected are 30 Q each). (05 Marks)

b (05 Marks)

(10 Marks)

> and v,/ for the circuit shown in Fig. Q1(b) by Mesh ana]ysis
network given in Fig, QI(e), find Iy using nodal analy

'3A 203
& §‘L\qn R *uw
-

Fig. Ql(a) Fig. Q1(b) ©® ™ Fig. Q1(c)

50, will be treated as malpractice.

3=

2
2 a. Write the tie - set sthcdu!édor the network. shnwn in Fig. Q2(a), and using the tie set
schedule determine all branch Girrents. (Take irfer resistors as tree branch elements).

(10 Marks)
b. For the network shown in Fig. Q2(6),Hraw the dual circuit. Also write the nodal equations
for the dual circuit (10 Marks)

N 3 & 2

T
- = Fig. Q2(b)

‘compulsorily draw diagonal crosslines on the remaining blank pages

Fig. Q2(a) =
7.
3 a Find the voltage *§/* across 302 resistor using superpos.uom@mms for the circuit sown in
the Fig. Q3(a) (10 Marks)
b, State Millman’s theorem. Using Millman’s theorem find current threngh the foad resistor Ry
for the gifelit shown in Fig .Q3(b). 0 (10 Marks)
2

cation, appeal o evaluator and for equations written eg, 42+

oN + &V o N




	[7M]

	
	
	
	

	2.
	a)
	For the network of Fig. write directly the mesh current equation in matrix notation and hence determine I1 and I2 





[image: image3.png]b) What value of @ will cause the forced response, V., in Fig. to be zero

3. a) For the network of Fig. write dircctly the mesh current cquation in matrix notation  (8M)
and hence determine I and I

b) Show E (M)

WWW . MANZ—\RE SULT S
I





	[7M]

	
	b)
	Find the   Root Mean Square value, Average value, Form Factor, Peak factor  for the wave form shown below.










[image: image4.png]Distinguish between series and parallel circuits.
Explain why current leads the voltage by 90° in case of ideal capacitor,

Define active and reactive power of alternating quantity and write their expressions.
Why the current in AC series R-L-C circuit at resonance is maximum

Why the coefficient of coupling in a magnetic circuit is not more than unity.

(vii) What is duality? What are dual quantities?

(viii) State reciprocity theorem.

[3+2434343+24343]
PART-B

2.(a) Find the average value, r.m.s value, form factor and peak factor for the wave form shown

in figure: 1

i \T/z T
31720 W '

Figure 1

(b)  Solve the network given in figure:2 for the following: (i) unknown resistances Ry and Ry

(ii) unknown currents in various branches of the network.

02Q

01Q 030

204 YIOA
Rz

Ry

Figure 2

Page 10f 3





	[7M]

	
	
	
	

	3.
	a)
	Derive the EMF equation of DC generators.
	[7M]

	
	b)
	A 500V DC Shunt Motor running at 700rpm takes an armature current of 50A.Its effective armature resistance is 0.4Ω. What resistance must be placed in series with the armature to reduce the speed to 600rpm, the torque remaining constant.
	[7M]

	
	
	
	

	4.
	
	A single phase, 4KVA, 200/400 V, T/F, gave the following test result.      
    O.C test
200V
0.7A
60W
(L.V. Side)
                        
S.C test
9V
10A
275W
(H.V Side)


(i).Draw equivalent diagram referred to L.V (ii).Find the secondary terminal voltage at 0.8 P.F full loads.(iii).Calculate the voltage regulation and efficiency at 65% load with 0.8 p.f. lagging.
	[14M]

	
	
	
	

	5.
	a)
	Explain how the rotating magnetic field is produced in the three phase induction Motor?
	[7M]

	
	b)
	A three phase, 4-pole, 50Hz induction motor supplies a useful torque of 159N-M. Calculate at %slip 
(i) The rotor input (ii) The motor input 
(iii) The motor efficiency 
if fraction and Windage loss is 500W and the stator losses equal to 1000W
	[7M]

	
	
	
	

	6.
	
	Explain about construction features and working of Permanent magnet moving coil (PMMC) voltmeter with neat diagram?  
	[14M]

	
	
	
	

	7.
	a)
	State and explain Norton's theorem with example.
	[7M]

	
	b)
	A separately excited generator when running at 1000rpm supplied 200A at 125V. What will be the load current when the speed drops to 800rpm if If is unchanged? Given that armature resistance=0.04Ω and brush drop=2V. Derive the necessary equations.
	[7M]

	
	
	
	

	8.
	a)
	Explain the constructional details and working principle of three phase induction motor with neat sketch?
	[7M]

	
	b)
	A11000/230 V, 150 KVA, 1-phase, 50Hz transformer has core loss of 1.4kW  and F.L cu loss of 1.6KW. Determine 
(i) The KVA load for maximum efficiency and the value of maximum efficiency at unity p.f 
(ii) The efficiency at half F.L 0.8 pf leading.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A18














PAGE  
Page 1 of 2

