[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A734





                 
      Date: 10-Oct-2020 (AN)
B.Tech IV-Year I-Semester External Examination, October - 2020 (Supplementary)
HVDC and FACTS (EEE)

Time:
 2 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

	1.
	a)
	Draw a typical HVDC layout and explain their basic components.
	[8M]

	
	b)
	List out various types of DC links.
	[7M]

	
	
	
	

	2.
	a)
	Explain overlap angle and extinction angle.
	[8M]

	
	b)
	Discuss in detail the principle of DC link control.
	[7M]

	
	
	
	

	3.
	a)
	Derive an equation for harmonic voltage and current for a single tuned filter.
	[8M]

	
	b)
	Give a schematic diagram and layout of harmonic filters on the AC side of HVDC system.
	[7M]

	
	
	
	

	4.
	a)
	Explain about the power flow in parallel paths in a transmission line.
	[8M]

	
	b)
	Explain loading capability limits of FACTS controllers.
	[7M]

	
	
	
	

	5.
	a)
	Explain the design of SVC voltage regulator.
	[8M]

	
	b)
	Discuss in detail the effect of SVC for the enhancement of transient stability.
	[7M]

	
	
	
	

	6.
	a)
	Explain the operation of UPFC with diagram.
	[8M]

	
	b)
	Explain in detail the applications of TSSC.
	[7M]

	
	
	
	

	7.
	a)
	Draw cost Vs distance curve for ac and DC transmission.
	[8M]

	
	b)
	Explain individual characteristics of inverter and rectifier with sketches.
	[7M]

	
	
	.
	

	8.
	a)
	What are the main objectives of FACTS?
	[8M]

	
	b)
	Explain the operation of STATCOM.
	[7M]

	
	
	
	


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

