[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A714 





                 
      Date: 06-Oct-2020 (AN)
B.Tech IV-Year I-Semester External Examination, October - 2020 (Supplementary)
Power System Analysis and Control (EEE)
Time:
 2 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 15 MARKS.
	1.
	
	Determine the ZBus for a power system whose element data is given in the following table.

Element No.

Connected between bus No.

Self reactance (p.u.)

1

1-2

0.3

2

1-3

0.4

3

2-3

0.2

4

1-2

0.25


	[15M]

	
	
	
	

	2.
	a)
	With a first order approximation, explain the dynamic response of an isolated area for load frequency control.
	[8M]

	
	b)
	Discuss in detail the importance of a load frequency problem.
	[7M]

	
	
	
	

	3.
	a)
	Explain how the tie-line power deviation can be incorporated in two area system block diagram.
	[8M]

	
	b)
	Discuss the merits of proportional plus integral load frequency control of a system with a neat block diagram.
	[7M]

	
	
	
	

	4.
	a)
	Develop an algorithm for Gauss Seidel load flow method including PV buses in the power system.
	[8M]

	
	b)
	Derive the generalized expressions for elements of Jacobian matrix for decoupled load flow method.
	[7M]

	
	
	
	

	5.
	a)
	Explain how is the equal area criterion applied when there is a sudden increase in power input of generator?
	[8M]

	
	b)
	A two pole, three phase, 50 MVA, 11 kV generator is supplying rated power at 0.8 lagging power factor to an 11 kV bus. Due to a fault the generator output is reduced to 30%. The KE stored in the moving parts of the generator is 120 MJ. Determine (i) acceleration power and (ii) acceleration at the time of fault.
	[7M]

	
	
	
	

	6.
	a)
	Derive general transmission line loss formula and state assumptions made for calculating B-coefficients.


	[8M]

	
	b)
	In a thermal power station, incremental costs are given by the following equations:

dc1/dp1= Rs. (0.15P1+12);

dc2/dp2= Rs. (0.05P2+14);

dc3/dp3= Rs. (0.21P3+13);

Where P1 are the loads in MW. Determine the economical load allocation between the three units, when the total load on the station is 300 MW.
	[7M]

	
	
	
	

	7.
	a)
	Explain the procedure to modify the Zbus when an element is added to the existing network.


	[8M]

	
	b)
	Briefly explain the control area error.
	[7M]

	
	
	
	

	8.
	a)
	What are the advantages of Newton Raphson Method over Gauss Siedel Method?


	[8M]

	
	b)
	Explain power angle curve of a synchronous machine.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 2

