[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A727   





                 
      Date: 08-Oct-2020 (AN)
B.Tech IV-Year I-Semester External Examination, October - 2020 (Supplementary)
Reactive Power Compensation & Management (EEE)
Time:
 2 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 15 MARKS.
	1.
	a)
	Explain load compensator as voltage regulator.
	[8M]

	
	b)
	Discuss the specification of load compensator in reactive power management. 
	[7M]

	
	
	
	

	2.
	a)
	What are the fundamental requirements in A.C power transmission system explain in brief.
	[8M]

	
	b)
	Discuss the Advantageous and dis advantageous of different types of compensating equipment for transmission system. 
	[7M]

	
	
	
	

	3.
	a)
	Explain effect of harmonics on electrical equipment.
	[8M]

	
	b)
	Discuss the cause  and effect of over frequencies in transmission line.
	[7M]

	
	
	
	

	4.
	a)
	Discuss in details of the various methods for loss reduction in demand side management.
	[8M]

	
	b)
	Explain load shaping on demand side management.
	[7M]

	
	
	
	

	5.
	a)
	Briefly explain how to select a capacitor for user side reactive power management. 
	[8M]

	
	b)
	What are the deciding points on selecting voltage level for KVAR compensation on high voltage? 
	[7M]

	
	
	
	

	6.
	a)
	Discuss typical layout of ac traction system and explain its operation.
	[8M]

	
	b)
	What are the problems in the quality of electric supply explain in detail?
	[7M]

	
	
	
	

	7.
	a)
	What is phase balancing explain in unsymmetrical load?
	[8M]

	
	b)
	Explain comparison between passive and active compensator. 
	[7M]

	
	
	
	

	8.
	a)
	Explain Retrofitting of capacitor bank.
	[8M]

	
	b)
	How to know KVAR requirement for domestic appliance explain in detail?
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

