[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5B729





                 
      Date: 28-Oct-2020 (AN)
B.Tech IV-Year I-Semester External Examination, October - 2020 (Supplementary)
Metrology and Instrumentation (ME)

Time:
 2 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

	1.
	a)
	Explain the terms: Hole based system, shaft based system. Enumerate the differences between them.
	[8M]

	
	b)
	Briefly explain the features of Indian Standard limit system and compare it with the I.S.O system.
	[7M]

	
	
	
	

	2.
	a)
	Explain the principle of GO and NOGO gauges.
	[8M]

	
	b)
	Describe Centre Line Average method of finding surface roughness value. How do you determine Mean line?
	[7M]

	
	
	
	

	3.
	a)
	Describe with a neat sketch the measurement of pitch of internal and external screw threads using a pitch measuring machine.
	[8M]

	
	b)
	Explain the constant cord method of measuring the tooth thickness in gears.
	[7M]

	
	
	
	

	4.
	
	Sketch the optical arrangement of NPL Gauge Interferometer and explain how the relative dispositions of the interference bands are used to compute the length of a slip gauge
	[15M]

	
	
	
	

	5.
	a)
	Explain the dynamic characteristics of the measurement system.
	[8M]

	
	b)
	What are the different types of errors occurred in measurement system? Explain them in detail.
	[7M]

	
	
	
	

	6.
	a)
	Explain the working of Bourdon Pressure gauge.
	[8M]

	
	b)
	Explain thermo couple with a neat sketch. Explain the dynamics involved in the thermocouple in the measurement of temperature.
	[7M]

	
	
	
	

	7.
	a)
	Sketch and explain variable capacitive transducer elements with applications.
	[8M]

	
	b)
	Explain the working principle involved in seismic instrument.
	[7M]

	
	
	
	

	8.
	a)
	Explain the ionization transducer for measurement of displacement with neat sketch.
	[8M]

	
	b)
	Explain the importance of load cells in the measurement of force.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

