[image: image1.emf][image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS





[image: image3.png]



Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4AC41  





                 
      Date: 12-July-2021 (AN)
B.Tech I-Year II- Semester External Examination, July-2021 (Supplementary)
BASIC Electrical Engineering (BT)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain the principle of source transformation in electrical circuits.
	L2
	CO1
	[7M]

	
	b)
	The current in 6Ω resistor of the network shown in Figure.1 is 2A. Determine the currents in all resistors and the voltage across the network.






   
Figure.1


	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Define the following terms w.r.t  AC  waveforms. 

(i) frequency

(ii) average value

(iii) r.m.s value

(iv)phasor

(v) form factor.
	L1
	CO2
	[7M]

	
	b)
	A coil has a resistance of 5Ω and draws a current of 20A when connected across a 260V, 50 Hz supply. Determine (i) Inductance of the coil (ii) power factor of the circuit (iii) reactive power.  Draw the phasor diagram.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the principle of operation of a D.C Generator.


	L2
	CO3
	[7M]

	
	b)
	A 4-pole, lap connected 230V shunt motor has 410 armature conductors. It takes 41A on full load and the flux per pole is 0.05Wb. The armature and field resistances are 0.1Ω and 230Ω respectively. Brush contact drop is 1V per brush. Determine (i) Speed of the motor, (ii) Total torque developed in the motor.
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the construction and working of a single phase transformer with a neat diagram.
	L2
	CO4
	[7M]

	
	b)
	A 25 KVA , 2500/250 volts, 50Hz single phase transformer gave the following test results 

OC Test (LV side) :250V, 4A, 150W

SC Test( HV side) :90V, 10A, 350W

Determine the efficiency and Regulation at full load, 0.8 pf lag.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the principle of operation of a three phase induction motor. 
	L2
	CO5
	[7M]

	
	b)
	Derive the torque equation of a three phase induction motor.
	L3
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the various  methods of providing Controlling Torque in indicating instruments. List their advantages and disadvantages.
	L2
	CO6
	[7M]

	
	b)
	Explain the working of an MI instrument with a neat diagram.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	
	Find the equivalent resistance across the terminals AB shown in Figure.2 by using star – delta transformations.   
                                                                                                           

Figure.2


	L3
	CO1
	[14M]

	
	
	
	
	
	

	8.
	a)
	Derive the expressions for converting a delta network to a star network.
	L3
	CO4
	[7M]

	
	b)
	Explain how the range of a PMMC voltmeter can be extended with an example.
	L2
	CO5
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A14











PAGE  
Page 2 of 2

