[image: image3.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC41





                 
      Date: 19-Mar-2021(FN)
B.Tech II-Year I- Semester External Examination, March/April-2021 (Regular & Supplementary)
BASIC ELECTRICAL ENGINEERING (CSE and it)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	State and explain Norton’s theorem.


	L1
	CO1
	[7M]

	
	b)
	Develop Norton’s equivalent circuit across terminals x and y.
[image: image1.png]200

10 Q

18V




	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Determine R.M.S value and average value of a Sinusoidal voltage.

	L5
	CO2
	[7M]

	
	b)
	A 230V, 50Hz A.C supply is applied to a coil of 0.06H inductance and 2.5Ω resistance connected in series with a 6.8µF capacitor.  
Calculate
 i) impedance
 ii) current and
iii) power factor.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the principle of operation of DC motor.


	L2
	CO3
	[7M]

	
	b)
	Derive EMF equation of D.C generator.
	L6
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain construction and principle of operation of transformer.


	L2
	CO4
	[7M]

	
	b)
	Illustrate equivalent circuit of transformer.
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Derive relation between line and phase quantities of a delta connected three phase system.


	L6
	CO5
	[7M]

	
	b)
	A 3-ϕ, 400V, 50Hz A.C supply is feeding a 3-ϕ delta connected load with each phase having a resistance of 25Ω and a inductance of 0.15H in series.  Determine line current and phase current.
	L4
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain Construction and working of PMMC type of instrument.
	L2
	CO6
	[7M]

	
	b)
	Differentiate between PMMC and MI instruments.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	In the below circuit diagram determine Voltage across 4Ω resistor using super position theorem.

[image: image2.png]2Q

8Q

10V =r=0

4Q

2Q

fon





	L5
	CO1
	[5M]

	
	b)
	Define Active power , reactive power and apparent power.


	L2
	CO2
	[5M]

	
	c)
	Explain how the iron losses can be minimized.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	A 400/200V single phase transformer is supplied on H.V side with 50Hz A.C supply. Compute the frequency of L.V side output voltage.


	L3
	CO4
	[5M]

	
	b)
	An induction motor is supplied 3-ϕ, 50Hz A.C supply. Compute rotor frequency if it runs at a slip of 0.05.


	L3
	CO5
	[5M]

	
	c)
	Explain different methods of controlling torque of an instrument.
	L2
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 2

