[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A304    





                 
      Date: 07-July-2021 (FN)
B.Tech II-Year I- Semester Pending External Examination, July - 2021 (Supplementary)
Circuits and Networks-II (EEE)

Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	How a three phase power is measured in delta connected load using two watt meters? Explain with a neat sketch.


	L2
	CO1
	[8M]

	
	b)
	The phase impedance of a delta connected load is (15+j20)Ω. What is the line current, if the applied line voltage is 220V? Obtain the amount of power consumed per phase. What is the phasor sum of the three line currents?
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Derive an expression for the current response in R-L series circuit with a sinusoidal source.

	L3
	CO2
	[8M]

	
	b)
	A direct voltage of 200V is suddenly applied to a series R-L circuit having     R=20Ω and inductance L=0.2H. Determine the voltage drop across the inductor at the instant of switching on and at 0.02 sec later.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Enumerate the important properties of driving point impedance function of one port passive network.

	L4
	CO3
	[8M]

	
	b)
	Show the pole-zero plot of the given network function V(s) and obtain v(t).

V(s) =[image: image2.png]10s
c13)(s12)




	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	The Z-parameters of the circuit are given by Z11=10Ω, Z12=5Ω, Z21=5Ω and Z22=20Ω. Obtain the transmission parameters.
Also find its equivalent T-network.

	L3
	CO4
	[8M]

	
	b)
	Derive relationship between hybrid and Z-parameters of two port network.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Briefly explain the important properties of filters.

	L2
	CO5
	[8M]

	
	b)
	Design a T and π section constant-K high pass filter having cut-off frequency of 12kHz and nominal impedance R0=500Ω. Also find its characteristic impedance and phase constant at 24kHz.
	L5
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Obtain the exponential Fourier series of the wave form shown in below figure

[image: image3.emf]
	L3
	CO6
	[8M]

	
	b)
	Obtain the Fourier coefficients for the function given by 
f(t)=(t+π)  when – π <t< π; note that f(x+2π)=f(x).
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	The power in a three phase circuit is measured by two wattmeters. If the total power is 50kw, power factor being 0.8 leading, what will be the reading of each wattmeter ? For what power factor will one of the wattmeters read zero ?

	L3
	CO1
	[8M]

	
	b)
	What information do poles and zeros provide in respect of network to which they relate?
	L2
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	Obtain the transmission parameters for the circuit shown in below figure.

[image: image4.emf]
	L3
	CO4
	[8M]

	
	b)
	What is Fourier transform? Explain any three properties of Fourier transforms.
	L2
	CO5
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

