[image: image7.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A304  





                 
      Date: 02-July-2021(FN)
B.Tech II-Year I-Semester Pending External Examination, July-2021 (Regular&Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS – II (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	What is the effect of variation of power factor on the readings of two-watt meters used in 3-phase power measurement?  
	L1
	CO1
	[7M]

	
	b)
	Determine the line currents in an unbalanced star connected load supplied from symmetrical three phase 440v system. The branch impedances are 
ZR =4
[image: image1.wmf]Ð

300,  ZY =10
[image: image2.wmf]Ð

450  and Z B=10
[image: image3.wmf]Ð

600. The phase sequence is RYB.
	L5
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Analyze DC response of series R-L circuit using Differential approach.
	L4
	CO2
	[7M]

	
	b)
	For the circuit shown in below fig, derive the current equation when the switch is opened at t=0.
                      SHAPE  \* MERGEFORMAT 



	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the necessary conditions for driving point functions.
	L2
	CO3
	[7M]

	
	b)
	Explain the properties of Transfer functions.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Determine Y parameters for the circuit given below.

                        [image: image5.png]




	L3
	CO4
	[7M]

	
	b)
	Obtain ABCD parameters in terms of Z parameters.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Draw the circuit diagram of a low pass filter. Explain the design procedure of the above filter in detail.
	L2
	CO5
	[7M]

	
	b)
	Explain the general configuration and parameters of a high pass filter T and π – Sections.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain     i) Even function symmetry 
 ii) Odd function symmetry.

	L2
	CO6
	[7M]

	
	b)
	Derive the trigonometric Fourier series of following waveform.
                          [image: image6.png]> (ms)





	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	The two watt meter readings in a 3 - phase power measurement are 800W and 400W. The later reading is being obtained after the reversal of current coil. Calculate the total power and power factor of the load.
	L3
	CO1
	[5M]

	
	b)
	Explain the procedure adopted for the evaluation of initial conditions.
	L2
	CO2
	[5M]

	
	c)
	Explain the restrictions of pole zero locations for driving point functions.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	A typical two port network is characterized by the following  equations.
2V1 + 4I2 = I1
      V2 + 6V1 = 8I2
Determine the values of Z21, Y12 parameters.
	L3
	CO4
	[5M]

	
	b)
	Write short notes on Band Pass filter.  
	L1
	CO5
	[5M]

	
	c)
	Find the Fourier series expression for a symmetrical square wave signal.
	L1
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18





100v





– 





– 





+ 





+ 





5 Ω





10 Ω





20 Ω





I





10 I





5 μf








PAGE  
Page 2 of 2

_1675238768.unknown

_1675238769.unknown

_1675238767.unknown

