[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4AC41  





                 
      Date: 05-July-2021 (FN)
B.Tech II-Year I- Semester Pending External Examination, July - 2021 (Supplementary)
Basic Electrical Engineering (ME, CSE and IT)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Determine the currents in the Fig.1 by mesh Analysis.
[image: image1.jpg]50

60

30V

100

10V

S

Fig.1





	L3
	CO1
	[7M]

	
	b)
	State and explain Thevenin's Theorem with an example.
	L1
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	A coil has a total effective impedance of 50Ω and the phase angle of the current through it w.r.t the voltage across it is 45O lag. The coil is connected to a 20Ω resistor in series. The circuit is connected across an ac supply. The circuit current is 3.0 A. Draw the phasor diagram and determine the supply voltage and circuit phase angle.
	L3
	CO2
	[7M]

	
	b)
	State and explain the following with relevant diagrams 

(i) Faradays Laws of electromagnetic induction  and 

(ii) Fleming’s Right Hand Rule.
	L1
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Derive the EMF equation of a DC generator.
	L3
	CO3
	[7M]

	
	b)
	A 240V DC  shunt motor takes a total current of 50A and runs at 1000 rpm. Armature resistance and shunt field resistances are  0.1Ω and 120Ω respectively. If Iron and friction losses are 1500W, find 

i) copper losses 
(ii) Armature torque 

(iii) efficiency
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	A 25KVA transformer has 300 turns on the primary and 60 turns on the secondary. The primary is connected to 1100V , 50Hz mains. Find the secondary voltage and currents in the two windings. Also find the maximum flux in the core.
	L3
	CO4
	[7M]

	
	b)
	A 10 KVA , 2500/250 volts, 50Hz single phase transformer gave the following test results 

OC Test (LV side) :250V, 1A,  50W

SC Test( HV side) :60V,   3A,  45W
Determine the efficiency and Regulation at full load , 0.8 pf lag.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	A balanced star connected load of (3+j4)Ω is connected to 3-Phase, 230V supply. Find the line current, power factor active power, reactive power and apparent power.
	L3
	CO5
	[7M]

	
	b)
	What are the types of 3-Phase induction motors? Explain their constructional differences with relevant diagrams.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	What is damping torque? What are the various methods of providing damping torque in indicating instruments.
	L2
	CO6
	[7M]

	
	b)
	Explain the working of PMMC instrument with a neat diagram.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain Self and mutual Inductances. What are the factors affecting Self and mutual Inductances.
	L2
	CO1
	[7M]

	
	b)
	Give the classification of DC Machines with  circuit diagrams.
	L1
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	Explain OC and SC tests for a transformer. What parameters can be calculated from these tests.
	L2
	CO4
	[7M]

	
	b)
	Explain how the range of a PMMC ammeter can be extended with an example.
	L2
	CO5
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A14











PAGE  
Page 1 of 2

