[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:7A817  





                 
      Date: 09-Mar-2021 (FN)
B.Tech III-Year I- Semester External Examination, March/April - 2021 (Regular)
HIGH VOLTAGE ENGINEERING (EEE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain finite element method for evaluation of  field distribution.
	L1
	CO1
	[7M]

	
	b)
	Differentiate between Boundary element method and charge distribution method.  
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain how treeing and tracking leads to breakdown in solid insulating materials
	L3
	CO2
	[7M]

	
	b)
	Describe   breakdown effect in composite dielectric
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Differentiate the methods of High frequency AC Voltages.
	L4
	CO3
	[7M]

	
	b)
	Analyze how tripping and control of impulse generators is handled. 
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain Switching Over voltages in EHV power System.
	L5
	CO4
	[7M]

	
	b)
	How Protection against the over voltages is achieved?
	L6
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain how a sphere gap can be used to measure the peak value of voltages. What are the parameters and factors that influence such voltage measurement?
	L3
	CO5
	[7M]

	
	b)
	Write short notes on partial discharge. 
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	What are the different tests done on high voltage circuit breakers? Explain the procedure of each test.
	L1
	CO6
	[7M]

	
	b)
	What is the procedure of conducting impulse test on high voltage transformers?
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Write short notes on numerical methods for the estimation of electric field distribution.
	L3
	CO1
	[5M]

	
	b)
	Compare the breakdown effects in pure and commercial liquids.
	L5
	CO2
	[5M]

	
	c)
	Write short notes on generation of High direct current voltages.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	What are the mechanisms by which lightning strokes develop and induce over voltages on overhead power lines?
	L4
	CO4
	[5M]

	
	b)
	Draw the circuit of Schering bridge and explain. 
	L2
	CO5
	[5M]

	
	c)
	What are the different tests on voltage circuit breakers.
	L3
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

