[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4AC41      





         
      Date: 23-Oct-2021(FN)
B.Tech II-Year I- Semester External Examination, Sept/Oct-2021 (Supplementary)
BASIC ELECTRICAL ENGINEERING (ME,CSE and IT)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Derive the expressions for conversion of Delta network to star network and vice versa.
	L5
	CO1
	[7M]

	
	b)
	State and explain the principle of source transformation with an example.
	L1
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Define the following terms w.r.t  AC  waveforms. 

(i) frequency

(ii) average value

(iii) r.m.s value

(iv)phasor

(v) form factor.
	L1
	CO2
	[7M]

	
	b)
	A coil has a resistance of 5Ω and draws a current of 20A when connected across a 260V, 50 Hz supply. 
Determine 
(i) Inductance of the coil 


(ii) power factor of the circuit 
(iii) reactive power   
Draw the phasor diagram.
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the principle of operation of a DC Generator.

	L2
	CO3
	[7M]

	
	b)
	A DC Motor takes an armature current of 50A at 220V.The armature circuit resistance is 0.5Ω and the flux per pole is 22mWb. The machine has 4 poles and is wave connected with 800 conductors. 
Calculate the 


(i) Torque developed (ii) Speed of the motor.
	L5
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the construction and working of a single phase transformer with a neat diagram.
	L2
	CO4
	[7M]

	
	b)
	A 25 KVA , 2500/250 volts, 50Hz single phase transformer gave the following test results 

OC Test (LV side) :250V, 4A, 150W

SC Test( HV side) :90V, 10A, 350W

Determine the efficiency and Regulation at full load, 0.8 pf lag.
	L5
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Compare the advantages and disadvantages of 3-ϕ Squirrel cage Induction motor with Slip-ring Induction motor.
	L3
	CO5
	[7M]

	
	b)
	An 8-pole 3-ϕ induction motor runs at 720 rpm. What is the frequency of rotor currents if the supply frequency is 50Hz.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the various  methods of providing Controlling Torque in indicating instruments. List their advantages and disadvantages.
	L2
	CO6
	[7M]

	
	b)
	Explain the working of an MI instrument with a neat diagram.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Draw the no load phasor diagram of a transformer and derive expressions for magnetizing and core loss components of no load current.

	L3
	CO1
	[7M]

	
	b)
	In the below figure find the power dissipated in the 6Ω  resistor.

[image: image1.jpg]



	L5
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	State and explain Maximum Power Transfer Theorem with an example.
	L3
	CO4
	[7M]

	
	b)
	Explain how the range of a PMMC voltmeter can be extended with an example.
	L2
	CO5
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A14











PAGE  
Page 2 of 2

