[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A508  





                 
      Date: 05-Oct-2021(FN)
B.Tech III-Year I- Semester External Examination, Sept/Oct - 2021 (Supplementary)
Electrical Machines – III (EEE)

Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Find the rms values of phase voltage for a 3-ϕ, 50Hz, 20-pole 180 slot alternator having a single layer winding with full pitch coils, the coils being connected in 600 phase groups, each coil having 6 turns. All the coils of a phase are in series. Flux per pole=0.025wb.
	L3
	CO1
	[8M]

	
	b)
	Explain construction and working principle synchronous Generator.
	L1
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain the effect of armature resistance and leakage reactance on the synchronous generator.
	L2
	CO2
	[8M]

	
	b)
	What are the causes of harmonics in the voltage waveform of an alternator? How can these be minimized?
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	A 3.5MVA, Y-connected alternator rated at 4160 volts at 50Hz has the open circuit characteristic given by the following data :

[image: image1.png]Field Current (Amps)

50

100

150

200

250

300

350

400

450

EMF. (Volts)

1620

3150

4160

4750

5130

5370

5550

5650

5750





A field current of 200A is found necessary to circulate full-load current on short-circuit of the alternator.  Calculate by
 i) synchronous impedance method and 
ii) ampere-turn method the full load voltage regulation at 0.8 p.f.  lagging.  Neglect resistance.  Comment on the results obtained.

	L3
	CO3
	[8M]

	
	b)
	Describe the slip test for determining Xq and Xd in salient pole synchronous machine with circuit diagram.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	A 6,000V, 1,000kVA, 3-φ alternator is delivering full-load at 0.8 p.f. lagging. Its reactance is 20% and resistance negligible.  By changing the excitation, the e.m.f. is increased by 25% at this load.  Calculate the new current and the power factor.  The machine is connected to infinite bus-bars.

	L4
	CO4
	[8M]

	
	b)
	Derive the condition for maximum power output of a synchronous generator connected to infinite bus bars operating at constant excitation.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Why synchronous motor is not self-starting? Explain the methods of starting of synchronous motor.
	L2
	CO5
	[8M]

	
	b)
	Explain the variation of current and power factor of a synchronous motor with excitation.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Compare VR Stepper Motor and SR Motor.
	L2
	CO6
	[8M]

	
	b)
	A universal series motor has resistance of 30Ω and an inductance of 0.5H. When connected to a 250V d.c. supply and loaded to take 0.8A, it runs at 2000 r.p.m. Estimate its speed and power factor, when connected to a 250V, 50Hz a.c. supply and loaded to take the same current.
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Why are salient pole alternators more suitable for low speed and non-salient pole alternators for high speed operation?
	L2
	CO1
	[5M]

	
	b)
	Explain the load characteristics of synchronous generator.
	L1
	CO2
	[5M]

	
	c)
	How does the value of regulation as calculated by synchronous impedance method compared with that obtained from an actual load test and why?
	L2
	CO3
	[5M]

	
	
	
	
	
	

	8.
	a)
	Explain the procedure for the calculation of sub-transient and transient reactances.
	L1
	CO4
	[5M]

	
	b)
	Explain the concept of power circles in synchronous motors.
	L1
	CO5
	[5M]

	
	c)
	Explain the concept of double field revolving theory.
	L1
	CO6
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

