[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A510  





                 
      Date: 08-Oct-2021(FN)
B.Tech III-Year I- Semester External Examination, Sept/Oct - 2021 (Supplementary)
Power Systems - II (EEE)

Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	What are the various methods of voltage control in a power system ?
	L3
	CO1
	[8M]

	
	b)
	A 3-ϕ, 5 kW induction motor has a p.f. of 0·75 lagging. A bank of capacitors is connected in delta across the supply terminals and p.f. raised to 0·9 lagging. Determine the kVAR rating of the capacitors connected in each phase.
	L5
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	What are the different types of tariff methods in power system?
	L3
	CO2
	[8M]

	
	b)
	A generating station has a maximum demand of 50,000 kW. Calculate the cost per unit generated from the following data : Capital cost = Rs 95 × 106 ; Annual load factor = 40%

Annual cost of fuel and oil = Rs 9 × 106 ; 
Taxes, wages and salaries etc.= Rs 7·5 × 106 Interest and depreciation = 12%
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	What are the different types of bus-bar arrangements used in sub-stations? Illustrate your answer with suitable diagrams.
	L3
	CO3
	[8M]

	
	b)
	Explain the concept of arcing ground in power system.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the different types of current limiting reactors.
	L2
	CO4
	[8M]

	
	b)
	Determine the per-unit reactance of two generators rated as follows on a common base of 200 MVA, 35 KV: Generator 1: 100 MVA, 33 KV, sub transient reactance of 10%; Generator 2: 150 MVA, 32 KV, sub transient reactance of 8%?
	L5
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Derive the expression for fault current and draw the connection of sequence networks for single line to ground fault at the terminals of an unloaded generator.
	L5
	CO5
	[8M]

	
	b)
	The symmetrical components of phase-R voltage in a 3-ϕ unbalanced system are VR0=10∠180∘V, VR1=50∠0∘V, VR2=20 ∠90∘V. Determine the phase voltages VR, VY and VB?
	L3
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	How does A.C. distribution differ from D.C. distribution ?
	L3
	CO6
	[8M]

	
	b)
	A 2-wire d.c. distributor cable AB is 2 km long and supplies loads of 100A, 150A, 200A and 50A situated 500 m, 1000 m, 1600 m and 2000 m from the feeding point A. Each conductor has a resistance of 0·01 Ω per 1000 m. Calculate the potential difference at each load point if a p.d. of 300 V is maintained at point A.

	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain, how the power factor of power system can be  improved by using shunt capacitor?
	L2
	CO1
	[5M]

	
	b)
	Discuss the different classifications of costs of electrical energy.
	L3
	CO2
	[5M]

	
	c)
	Give the comparison of outdoor and indoor sub-stations.
	L5
	CO3
	[5M]

	
	
	
	
	
	

	8.
	a)
	What are the advantages of per-unit quantities?
	L2
	CO4
	[5M]

	
	b)
	Draw the zero sequence network of transformer for Y-Y, Y-Δ and Δ-Δ connections.
	L2
	CO5
	[5M]

	
	c)
	Write short notes on Ring main distributor.
	L1
	CO6
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

