[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A817  





                 
      Date: 27-Sept-2021 (FN)
B.Tech III-Year I- Semester External Examination, Sept/Oct - 2021 (Supplementary)
HIGH VOLTAGE ENGINEERING (EEE)


Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Describe surge voltages and explain the effect on power apparatus.
	L1
	CO1
	[7M]

	
	b)
	Explain briefly the Charge Simulation Method for solving field problems and estimation of potential distribution.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Describe process of Ionization collision in gaseous liquids.
	L4
	CO2
	[7M]

	
	b)
	Explain the mechanism of breakdown phenomenon in commercial liquids.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	What is Potential divider and describe how it is used for impulse voltage measurement?
	L2
	CO3
	[7M]

	
	b)
	Identify the methods of generation of Impulse voltages and currents. 
	L1
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the different aspects of insulation design and insulation coordination adopted for EHV systems.
	L3
	CO4
	[7M]

	
	b)
	What are the system faults and other abnormal conditions of switching surges?
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	What is non-destructive testing of insulating materials? Give very briefly the characteristics of these methods.
	L4
	CO5
	[7M]

	
	b)
	 Derive essential equation for finding loss factor using High voltage Schering bridge with a neat sketch.
	L6
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the importance of radio interference for the measurement of EHV voltages.
	L4
	CO6
	[7M]

	
	b)
	A cable of certain length is tested for insulation resistance by the loss of charge method. An electrostatic voltmeter of infinite resistance is connected between the cable conductor and earth forming there with a joint capacitance of 500 pF. It is observed that after charging the voltage falls from 260 volts to 82 volts in 60Secs. Determine the insulation resistance of the cable.
	L5
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Write short notes on insulating materials used in circuit breakers and cables.
	L1
	CO1
	[5M]

	
	b)
	Recall intrinsic breakdown in solid dielectric.
	L2
	CO2
	[5M]

	
	c)
	Define rise time and delay time in impulse voltage wave.
	L4
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain the importance of switching over voltages in EHV power systems.
	L3
	CO4
	[5M]

	
	b)
	Define Loss factor  with along with a phasor diagram.
	L2
	CO5
	[5M]

	
	c)
	Defend your understanding about impulse testing of high voltage transformer.
	L6
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

