[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A831    





                 
      Date: 20-Oct-2021(AN)
B.Tech III-Year II- Semester External Examination, Sept/Oct - 2021 (Supplementary)
SMART GRID (EEE)
Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Describe the opportunities and challenges relate to smart grid.
	L3
	CO1
	[8M]

	
	b)
	Define smart grid. Differentiate between conventional grid and smart grid.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Illustrate various architecture models of smart grid.
	L3
	CO2
	[8M]

	
	b)
	Discuss the functions of distribution automation in smart grid.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Describe artificial intelligence techniques used for smart grid.
	L2
	CO3
	[8M]

	
	b)
	Explain static optimization technique with an example.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the role of electric vehicles in building smart grid.
	L2
	CO4
	[8M]

	
	b)
	Illustrate economic issues in plug-in hybrid vehicle technology.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the need for Wide Area Measurement systems.
	L2
	CO5
	[8M]

	
	b)
	Discuss the functions of Phasor Measurement Unit (PMU)
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Determine load frequency control in a micro grid system.
	L5
	CO6
	[8M]

	
	b)
	Outline smart grid test bed. 
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Discuss the key challenges in smart grid.
	L2
	CO1
	[5M]

	
	b)
	What are the latest technologies in distribution automation?
	L2
	CO2
	[5M]

	
	c)
	Compare computer optimization techniques. 
	L3
	CO3
	[5M]

	
	
	
	
	
	

	8.
	a)
	Discuss the environmental impact by using electric vehicles.
	L2
	CO4
	[5M]

	
	b)
	Explain how steady state testing of PMU is done?
	L2
	CO5
	[5M]

	
	c)
	List out various reactive power sources.
	L1
	CO6
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

