[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5A727 





                 
      Date:01-Sept-2021 (FN)
B.Tech IV-Year I- Semester External Examination, Aug/Sept - 2021 (Supplementary)
Reactive Power Compensation & Management (EEE)
Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Determine how load compensator works as voltage regulator.
	L5
	CO1
	[8M]

	
	b)
	Analyze the concept of Phase balancing and Power factor correction for unsymmetrical loads.
	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Illustrate how shunt compensation is obtained by means of midpoint shunt reactor or capacitor in transmission lines. 
	L4
	CO2
	[8M]

	
	b)
	Explain TCR-FC (Thyristor Controlled Reactor with Fixed Capacitor) in transient state reactive power compensation.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Illustrate the objectives of in reactive power coordination.
	L4
	CO3
	[8M]

	
	b)
	Examine the transmission benefits obtained due to the application of reactive power dispatching strategy to improve the power systems operation .
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Illustrate KVAR based tariffs penalties for voltage flickers and harmonic voltage levels in demand side management. 
	L4
	CO4
	[8M]

	
	b)
	Classify various load patterns and their basic methods of shaping.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Determine how user side reactive power management is obtained by means of capacitors in detail.
	L5
	CO5
	[8M]

	
	b)
	Explain briefly the purpose of using capacitors on user side for reactive power management/
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain briefly about the furnace transformers.
	L2
	CO6
	[8M]

	
	b)
	Illustrate the Reactive Power Control requirements in Electric Traction System Why a special design of capacitor bank is needed?
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Write a short note on Reactive Power Characteristics.
	L2
	CO1
	[5M]

	
	b)
	Write about the series compensation method for reactive power compensation in transient state stability. 
	L2
	CO2
	[5M]

	
	c)
	Briefly discuss about radio frequency and electromagnetic interferences in reactive power coordination.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	8.
	a)
	Illustrate distribution side system losses.
	L4
	CO4
	[5M]

	
	b)
	Illustrate the steps involved in arriving the kVAR requirements in User Side Reactive Power Management .
	L4
	CO5
	[5M]

	
	c)
	Analyze the arc furnace characteristics showing effect of compensation at reduced voltage.
	L4
	CO6
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

