[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 4A820   






                  Date: 13-July-2021(AN)
B.Tech IV-Year II- Semester External Examination, July - 2021 (Supplementary)
Electrical Distribution Systems (EEE)
Time:
3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.


ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Draw and explain the line diagram of the primary distribution system.

	L1
	CO1
	[10M]

	
	b)
	Explain the load modeling in a distribution system with their characteristics.
	L2
	CO1
	[4M]

	
	
	
	
	
	

	2.
	a)
	Explain the basic design practice of the secondary distribution system.
	L2
	CO2
	[10M]

	
	b)
	Draw a line diagram of a loop type primary feeder.



	L1
	CO2
	[4M]

	
	
	
	
	
	

	3.
	a)
	Analyze briefly a square shaped distribution substation service area assuming it is served by four primary feeders from a centre feed point.
	L3
	CO3
	[7M]

	
	b)
	What are the benefits derived through optimal location of substations?
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	
	Derive the expression for voltage drop and power loss of a radial feeder.
	L3
	CO4
	[14M]

	

	
	
	
	
	
	

	5.
	a)
	Discuss the objectives of distribution system protection. 
	L2
	CO5
	[7M]

	
	b)
	Explain the operation of residual current circuit breaker.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the general procedure to determine the best location of the capacitors in distribution system.
	L2
	CO6
	[7M]

	
	b)
	A 2 kV single phase circuit feeds a load of 300 kW at a lagging load power factor and load current is 200 A. Determine uncorrected power factor and new corrected power factor after installing a shunt capacitor bank with a rating of 300 kVAR.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	
	Explain briefly the following:
	
	
	

	
	a)
	Classification of loads and their characteristics
	L2
	CO1
	[7M]

	
	b)
	Loop type primary feeder




	L3
	CO2
	[7M]

	
	
	
	
	
	

	8.
	
	Explain briefly the following:
	
	
	

	
	a)
	Effect of series capacitors.





	L2
	CO4
	[7M]

	
	b)
	Effect of AVB / AVR.
	L2
	CO5
	[7M]


H.T No





Regulations:


A14











PAGE  
Page 1 of 1

