[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5AC41  





                 
      Date: 09-Oct-2021(AN)
B.Tech II-Year II- Semester External Examination, Sept/Oct - 2021 (Supplementary)
Elements of Electrical Engineering (ME)
Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	State Thevenin’s theorem. What is the relationship between Thevenin’s theorem and Norton’s theorem?
	L2
	CO1
	[8M]

	
	b)
	The terminal voltage of a voltage-source is 12v when connected to a 2-W load. When the load is disconnected, the terminal voltage rises to 12.4V. Calculate the source voltage and the internal resistance of the source.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Find the equivalent impedance of the circuit if the circuit is operating at 5rad/sec.


[image: image1.png]00mF 21
iF

00 60





	L5
	CO2
	[8M]

	
	b)
	The field winding of a D.C electromagnet is wound with 960 turns and has resistance of 50Ω when the exciting voltage is 230V, the magnetic flux linking the coil is.005Wb. Calculate the self-inductance of the coil and the energy stored in the magnetic field.
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Derive the equation for armature torque developed by a motor.
	L3
	CO3
	[8M]

	
	b)
	A DC motor takes an armature current of 110Aat 480V. The armature circuit resistance is 0.2Ω. The machine has 6-poles and the armature is lap-connected with 864 conductors. The flux per pole is 0.05 Wb. Calculate the speed and gross torque developed by the armature.
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	What is OC and SC test and why is it conducted on transformers? 
	L2
	CO4
	[8M]

	
	b)
	A transformer has a primary winding of 800 turns and a secondary winding of 200 turns. When the load current on the secondary is 80A at 0.8 p.f lagging, the primary current is 25A at 0.707 power factor lagging. Determine graphically the no-load current of the transformer and its phase with respect to voltage.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Derive the torque equation of a 3-ϕ induction motor and draw the torque slip characteristics in motoring mode.
	L3
	CO5
	[8M]

	
	b)
	A 1100V, 50Hz delta connected induction motor has a star connected slip ring rotor with a phase transformation ratio of 3.8. The rotor resistance and standstill leakage reactance are 0.012Ω and 0.25Ω per phase respectively. Neglecting stator impedance and magnetizing current determine rotor current at start with slip rings shorted and the rotor current at 4% slip with slip rings shorted. 
	L4
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	How will use a P.M.M.C instrument which gives FSD at 50mv P.D and 10mA current as Voltmeter (0-250V) range and an ammeter of 0-10A range?
	L2
	CO6
	[8M]

	
	b)
	A moving coil milli ammeter has a resistance of 5Ω and a full-scale deflection of 20mA. Determine the resistance of a shunt to be used so that the instrument could measure currents upto 500mA at 20degrees centigrade. What is the % error in the instrument operating at a temperature of 40 degrees centigrade? Temperature co-efficient of copper=0.0039per degree centigrade.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain the procedure adopted to form the Thevenin’s equivalent circuit.
	L2
	CO1
	[8M]

	
	b)
	Explain the resonance phenomenon in a R-L-C series circuit and justify why it is called as a acceptor circuit.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	Draw the no-load diagram of a single-phase transformer and why the transformer core is laminated.
	L1
	CO4
	[5M]

	
	b)
	Derive the expression for maximum torque in a 3-phase induction motor and what is the slip corresponding to maximum torque
	L3
	CO5
	[5M]

	
	c)
	Explain the essential features of Indicating instruments
	L2
	CO6
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

_1616765708

