[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7KC61  





                 
      Date: 09-Sept-2021 (FN)
B.Tech III-Year II- Semester External Examination, Aug/Sept - 2021 (Regular)
DESIGN OF STEEL STRUCTURES (CIVIL)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	
	A tie bar 100mm X 16mm is welded to another plate. It is subjected to factored pull of 300 KN. Find the minimum overlap required if 8mm site fillet welds are used. Assume any missing data
	L4
	CO1
	[14M]

	
	
	
	
	
	

	2.
	
	A column 4m long has to support a factored load of 6000 kN The column is effectively held at both ends and restrained in direction at one of the ends. Design the column using beam sections and plates.
	L4
	CO2
	[14M]

	
	
	
	
	
	

	3.
	a)
	A tension member of a roof truss carries a factored axial tension of 430KN. Design the section and its connection with using lug angle
	L4
	CO3
	[7M]

	
	b)
	Design a double angle tension member connected on each side of a 10 mm thick gusset plate, to carry an axial factored load of 375 kN. Use 20 mm black bolts. Assume shop connection.
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	A roof of a hall measuring 8m x 12m consists of 100 mm thick R.C slab supported on steel I beams spaced 3m apart. The finishing load may be taken as 1.5 kN/m2 and live load as 1.5 kN/m2. Design the steel beam.
	L3
	CO4
	[7M]

	
	b)
	Design a simply supported beam of effective span 1.5 m carrying a factored load of 380 kN at mid span.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	
	A powerplant structure having maximum dimension more than 60m is proposed to be built on down hill side near Dehradun. The height of the hill is 400m with a slope of 1 in 3. If the location is 250m from the crest of the hill on downward slope and its eve board is at a height of 9m, determine the design wind pressure.
	L4
	CO5
	[14M]

	
	
	
	
	
	

	6.
	a)
	Design a welded plate girder of span 26m to carry super imposed load of 35 kN/m using intermediate stiffeners. Use Fe415 steel.
	L4
	CO6
	[7M]

	
	b)
	Design a slab base for a column ISHB 300@577 N/m carrying an axial factored load of 1000 kN. M20 concrete is used for the foundation. Provide welded connection between column and base plate.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain in detail about Limit state of design
	L2
	CO1
	[7M]

	
	b)
	Write any two specifications for designing a lug angle
	L2
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	An ISMB 500 section is used as a beam over a span of 6m, with simply supported ends. Determine the maximum factored uniformly distributed load that the beam can carry if the ends are restrained against torsion but compression flange is laterally supported.
	L4
	CO4
	[7M]

	
	b)
	What are the reasons behind splicing in plate girder.
	L2
	CO5
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

