[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A820 





                 
      Date: 18-Aug-2021 (FN)
B.Tech III-Year II- Semester External Examination, Aug/Sept - 2021 (Regular)
ELECTRICAL DISTRIBUTION SYSTEMS (EEE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain how the electrical loads are classified?
	L2
	CO1
	[7M]

	
	b)
	Derive the relation between load factor and loss factor.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Draw a schematic single line diagram of an electrical distribution system and explain its typical parts in detail.
	L2
	CO2
	[7M]

	
	b)
	Discuss the factors affecting the loading of a feeder.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the different factors to be considered to decide the ideal location for a substation.
	L2
	CO3
	[7M]

	
	b)
	Compare the % voltage drop of the feeders with square type service area and hexagonal type service area.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Derive the expression for voltage drop and power loss in 3-ϕ primary lines.
	L3
	CO4
	[7M]

	
	b)
	A single phase 50Hz ac distributor AB 300m long is fed from one end and is loaded as under:

i) 100A at 0.707 pf lag 200m fed from one end A

ii) 200A at 0.8 pf lag 300m fed from one end A

The total resistance and reactance of the distributor is 0.2Ω and 0.1Ω per kilometer. Calculate the total voltage drop in the distributor AB.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the procedure for coordination between reclosure and circuit breaker.
	L2
	CO5
	[7M]

	
	b)
	What is the need for coordination of different protective devices? Explain in detail.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the function of booster transformer? How does it increase the line voltage in distribution system?
	L2
	CO6
	[7M]

	
	b)
	Describe the operation of AVR with a neat diagram.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	What are the factors affect the distribution system planning?
	L2
	CO1
	[5M]

	
	b)
	Write short notes on types of distribution feeders.
	L2
	CO2
	[5M]

	
	c)
	Explain how to decide the rating of a distribution substation.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Enumerate the significance for voltage drop calculations.
	L2
	CO4
	[5M]

	
	b)
	Discuss the objectives of a distribution protection?
	L2
	CO5
	[5M]

	
	c)
	Explain the effect of series capacitor on voltage control.
	L2
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

