[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A611





                 
      Date: 16-Aug-2021 (FN)
B.Tech III-Year II- Semester External Examination, Aug/Sept - 2021 (Regular)
SWITCH GEAR AND PROTECTION (EEE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Derive the expression for velocity of propagation of transmission lines.
	L4
	CO1
	[7M]

	
	b)
	Draw the Bewley’s lattice diagram for a open circuit line.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	What are the causes of over voltages arising on a power system?  Why is it necessary to protect the equipment of the power system against over voltages?
	L3
	CO2
	[7M]

	
	b)
	Explain Zinc – Oxide lightning arrester.
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Derive an expression for restriking voltage in terms of system capacitance and inductance.
	L3 
	CO3
	[7M]

	
	b)
	Explain about the working of vacuum circuit breaker and give its advantages.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain the operation of directional over current relay with a neat circuit diagram.
	L3
	CO4
	[7M]

	
	b)
	Explain in detail about the IDMT relay characteristics.
	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the operation of static impedance relay.
	L2
	CO5
	[7M]

	
	b)
	Compare static relays with electromagnetic relays.
	L5
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Describe  the construction, principle of operation and applications of ‘Buchholtz relay.
	L4
	CO6
	[7M]

	
	b)
	With a neat sketch, describe the protection of alternator against inter-turn faults.
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Discuss the behavior of a travelling wave when it reaches the end of a short circuited transmission line.
	L2
	CO1
	[5M]

	
	b)
	Explain Insulation coordination.
	L2
	CO2
	[5M]

	
	c)
	Explain the specifications of circuit breakers.
	L3
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Mention the applications of

i) distance relay 
ii) under voltage relays.
	L3
	CO4
	[5M]

	
	b)
	Write short notes on amplitude and phase comparators.
	L2
	CO5
	[5M]

	
	c)
	Describe the rotor protection against earth fault.
	L2
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

