[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC43  





                 
      Date: 05-July-2021(FN)
B.Tech II-Year I-Semester Pending External Examination, July-2021 (Regular&Supplementary)
ELECTRICAL TECHNOLOGY (ECE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Derive EMF equation of  DC generator.  
	L1
	CO1
	[7M]

	
	b)
	Explain building of emf in self excited DC generator.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain different speed control methods of DC motor.
	L2
	CO2
	[7M]

	
	b)
	Describe how Swinburne’s test is conducted on DC machine. State its advantages and disadvantages.                                                                                                                   
	L1
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	 A 7 kVA 200/1000V, 50Hz, single-phase transformer gave the following test results:
O.C Test (L.V. Side): 2000V, 1.2A, 90W
S.C Test (H.V. Side):
50V,
5A, 110W
Calculate the parameters of the equivalent circuit referred to the L.V side.    
	L3
	CO3
	[7M]

	
	b)
	Calculate the output secondary voltage when delivering 3kW at 0.8 p.f. lagging, the input primary voltage being 200V and also find the percentage regulation.                   
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Explain rotating magnetic field in three phase induction motor.
	L2
	CO4
	[7M]

	
	b)
	 Explain the slip-torque characteristics of a 3-phase induction motor.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain construction of synchronous generator.
	L2
	CO5
	[7M]

	
	b)
	Explain O.C and S.C test on synchronous generator.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Obtain the condition for maximum torque under running condition in Induction motor.
	L1
	CO6
	[7M]

	
	b)
	How the shaded pole motor works? Explain in detail.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Draw load characteristics of DC generators.
	L1
	CO1
	[5M]

	
	b)
	Derive torque equation in DC motor.
	L1
	CO2
	[5M]

	
	c)
	Draw different connections of primary and secondary in three phase transformer.
	L1
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain the principle of operation of slip-ring induction motor.
	L2
	CO4
	[5M]

	
	b)
	Derive emf equation in synchronous generator.
	L1
	CO5
	[5M]

	
	c)
	Write principle operation of stepper motor.
	L1
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

