[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC43   





                 
      Date: 02-Jan-2023 (FN)
B.Tech II-Year I- Semester (A18) Special Supplementary Examination - December-2022
ELECTRICAL TECHNOLOGY (ECE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Derive EMF equation of  DC generator.  
	L1
	CO1
	[7M]

	
	b)
	Explain building of emf in self excited DC generator.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	What is the significance of back emf in DC motor? Explain.
	L2
	CO2
	[7M]

	
	b)
	Explain swinburne’s test on DC motor
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	 A 7 kVA 200/1000V, 50Hz, 1-ϕ transformer gave the following test results:
O.C Test (L.V. Side): 2000V, 1.2A, 90W
S.C Test (H.V. Side):
50V,
5A, 110W
Calculate the parameters of the equivalent circuit referred to the L.V side.    
	L3
	CO3
	[7M]

	
	b)
	Calculate the output secondary voltage when delivering 3kW at 0.8 p.f. lagging, the input primary voltage being 200V and also find the percentage regulation.                   
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	
	Explain rotating magnetic field in 3-ϕ induction motor with neat diagrams.
	L2
	CO4
	[14M]

	
	
	
	
	
	

	5.
	a)
	Explain construction of synchronous generator.
	L2
	CO5
	[7M]

	
	b)
	Explain O.C and S.C test on synchronous generator.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	
	Write short notes on:
	
	
	

	
	
	i) shaded pole motor
	L1
	CO6
	[5M]

	
	
	ii) universal motor
	L1
	CO6
	[5M]

	
	
	iii) capacitor phase split motor
	L1
	CO6
	[4M]

	
	
	
	
	
	

	7.
	a)
	Draw load characteristics of DC generators.
	L1
	CO1
	[5M]

	
	b)
	Derive torque equation in DC motor.
	L1
	CO2
	[5M]

	
	c)
	Draw different connections of primary and secondary in 3-ϕ transformer.
	L1
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain torque slip characteristics of 3-ϕ induction motor with neat sketches.
	L2
	CO4
	[7M]

	
	b)
	Explain the principle of operation of AC series motor.
	L2
	CO6
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

