[image: image5.png]


[image: image6.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A304  





                 
      Date: 23-Dec-2022 (FN)
B.Tech II-Year I- Semester (A18) Special Supplementary Examination - December-2022
ELECTRICAL CIRCUITS AND NETWORKS – II (EEE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	What is the effect of variation of power factor on the readings of two-watt meters used in 3-phase power measurement?  
	L1
	CO1
	[7M]

	
	b)
	Determine the line currents in an unbalanced star connected load supplied from symmetrical three phase 440v system. The branch impedances are 
ZR =4
[image: image1.wmf]Ð

300,  ZY =10
[image: image2.wmf]Ð

450  and Z B=10
[image: image3.wmf]Ð

600. The phase sequence is RYB.
	L5
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Illustrate the expression for transient response of RC series circuit excited by a sinusoidal source.
	L2
	CO2
	[7M]

	
	b)
	Analyze DC response of series R-L  circuit using Laplace Transform approach.
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the necessary conditions for driving point functions.
	L2
	CO3
	[7M]

	
	b)
	Explain the properties of Transfer functions.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Obtain h-parameters in terms of Z-parameters
	L3
	CO4
	[7M]

	
	b)
	Determine ABCD parameters of the two port network shown in the below Figure.
[image: image4.emf]

	L3
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Draw the circuit diagram of a low pass filter. Explain the design procedure of the above filter in detail.
	L2
	CO5
	[7M]

	
	b)
	Explain the general configuration and parameters of a high pass filter T and π – Sections.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Derive the trigonometric Fourier series for the following periodic waveform.



	L3
	CO6
	[7M]

	
	b)
	Explain about Even function symmetry and Odd function symmetry.      

	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	The two watt meter readings in a 3 - phase power measurement are 800W and 400W. The later reading is being obtained after the reversal of current coil. Calculate the total power and power factor of the load.
	L3
	CO1
	[5M]

	
	b)
	Explain the procedure adopted for the evaluation of initial conditions.
	L2
	CO2
	[5M]

	
	c)
	Explain the restrictions of pole zero locations for driving point functions.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	In a two-port network, A=3, B=6, C=5, D=4. Compute Z11 and Z12.

	L3
	CO4
	[5M]

	
	b)
	Write short notes on high Pass filter.  
	L1
	CO5
	[5M]

	
	c)
	Find the Fourier series expression for a symmetrical square wave signal.
	L1
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18









































PAGE  
Page 2 of 2

_1675238768.unknown

_1675238769.unknown

_1675238767.unknown

