[image: image3.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC41   





                 
      Date: 23-Dec-2022 (FN)
B.Tech II-Year I- Semester (A18) Special Supplementary Examination - December-2022
BASIC ELECTRICAL ENGINEERING (CSE and it)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	State and explain Norton’s theorem.
	L1
	CO1
	[7M]

	
	b)
	Develop Norton’s equivalent circuit across terminals x and y.

[image: image1.png]200

10 Q

18V




	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Discuss about the generation of alternating voltages and currents.
	L2
	CO2
	[7M]

	
	b)
	Explain R.M.S. value and average value of alternating quantity.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the principle of operation of DC motor.
	L2
	CO3
	[7M]

	
	b)
	Derive EMF equation of D.C generator.
	L6
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	A 10kVA, 2000/400V single phase transformer has R1=5Ω; X1= 12Ω; R2=0.2Ω and X2=0.48Ω. Determine the equivalent impedance of the transformer referred to 
(i) primary side 

(ii) secondary side .       
	L4
	CO4
	[7M]

	
	b)
	Discuss about equivalent circuit of a transformer.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Derive relation between line and phase quantities of a delta connected three phase system.
	L6
	CO5
	[7M]

	
	b)
	A 3-ϕ, 400V, 50Hz A.C supply is feeding a 3-ϕ delta connected load with each phase having a resistance of 25Ω and a inductance of 0.15H in series.  Determine line current and phase current.
	L4
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the working principle of a permanent magnet moving coil instruments.
	L2
	CO6
	[7M]

	
	b)
	Describe the features common to all indicating instruments.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	In the below circuit diagram determine Voltage across 4Ω resistor using super position theorem.

[image: image2.png]2Q

8Q

10V =r=0

4Q

2Q

fon





	L5
	CO1
	[5M]

	
	b)
	Define Active power , reactive power and apparent power.
	L2
	CO2
	[5M]

	
	c)
	Explain how the iron losses can be minimized.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Discuss about the practical transformer on load.
	L2
	CO4
	[5M]

	
	b)
	What is rotating magnetic field?
	L1
	CO5
	[5M]

	
	c)
	List out the advantages and disadvantages of moving iron instruments.
	L1
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

