[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A612   





                 
      Date: 27-Dec-2022 (AN)
B.Tech III-Year II- Semester (A18) Special Supplementary Examination - December-2022
MEASUREMENTS AND INSTRUMENTATION (EEE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	The coil of a 300V moving iron voltmeter has a resistance of 500Ω and an inductance of 0.8H. The instrument reads correctly at 50Hz AC supply and takes 100mA at full scale deflection. What is the percentage error in the instrument reading when it is connected to 200V DC supply.
	L5
	CO1
	[7M]

	
	b)
	Explain the effects used in secondary instruments to produce a deflecting torque.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	A 1000/5A, 50Hz current transformer has a bar primary and a rated secondary burden of 12.5VA. The secondary winding has 196 turns and a leakage inductance of 0.96mH.  With a purely resistive burden at rated full load, the magnetization mmf is 16A and the loss excitation requires 12A. Find the ratio and phase angle errors.
	L5
	CO2
	[7M]

	
	b)
	Explain why controlling torque is not required in power factor meter. With a neat sketch explain how power factor is measured by using single phase electro dynamo meter power factor meter.
	L1
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the effect of pressure coil inductance in an electro dynamo wattmeter. Derive an expression for correction factor.
	L5
	CO3
	[7M]

	
	b)
	With a neat sketch explain the constructional features of a 1-Φ induction type energy meter.
	L1
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Describe Kelvin’s double bridge method for measurement of small resistances. Derive the expression for the unknown resistance
	L2
	CO4
	[7M]

	
	b)
	Explain with neat circuit diagrams how unknown current and resistance are measured by using potentiometer.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	With a neat circuit diagram explain how voltage can be measured by using dual slope integration method?
	L2
	CO5
	[7M]

	
	b)
	Explain how phase and frequency can be measured by using oscilloscope.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Describe with neat sketch the working principle of strain gauges. Describe the terms Poisson’s ratio and gauge factor.
	L2
	CO6
	[7M]

	
	b)
	Write a short notes on resistive transducer.
	L1
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	The deflecting torque of an ammeter varies as the square of the current passing through it. If a current of 5A produces a deflection of 900, What deflection will occur for a current of 3A when the instrument is 


i) spring controlled 

ii) gravity controlled
	L4
	CO1
	[6M]

	
	b)
	List the advantages and disadvantages of moving iron power factor meters.
	L1
	CO2
	[4M]

	
	c)
	In a particular measurement, the wattmeter readings were 5000 and 1000W. Calculate the power and power factor if one of the meters has to be reversed.
	L3
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Explain the term “standardization” of a potentiometer. Describe the procedure of standardization of a D.C potentiometer.
	L1
	CO4
	[5M]

	
	b)
	Compare digital instruments with analog instruments.
	L1
	CO5
	[5M]

	
	c)
	List the advantages and disadvantages of thermocouples.
	L1
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

