[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B620   





                 
      Date: 22-Dec-2022 (AN)
B.Tech III-Year II- Semester (A18) Special Supplementary Examination - December-2022
METROLOGY  AND  INSTRUMENTATION (ME)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain how sine bars are used for angle measurement?
	L4
	CO1
	[7M]

	
	b)
	Explain with suitable examples how holes, shafts and fits are designated?
	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	With the help of neat sketch explain the working principle of a tool maker's microscope.
	L3
	CO2
	[7M]

	
	b)
	Describe with neat sketch explain the construction, working principle and operation of Talysurf.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain how various elements of screw thread are measured with neat sketches?
	L3
	CO3
	[7M]

	
	b)
	Explain the constant cord method of measuring the tooth thickness in gears.
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	State and explain various principles of measurement.
	L4
	CO4
	[7M]

	
	b)
	What are the various sources of errors in measurement? Explain.
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the working principle of electrical resistance thermocouple with neat sketches.
	L3
	CO5
	[7M]

	
	b)
	Explain the construction and working principle of ionization pressure gauges.
	L4
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the basic principle and working of vibrometer.
	L4
	CO6
	[7M]

	
	b)
	Explain the principle and  working of piezoelectric transducer in measurement of displacement.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Differentiate between interchangeable assembly and selective assembly with suitable examples.
	L2
	CO1
	[5M]

	
	b)
	Explain the working and application of profilograph.
	L3
	CO2
	[5M]

	
	c)
	Explain with neat sketches the method of gear tooth profile measurement.
	L4
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	List out the functional descriptions of measuring instruments.
	L1
	CO4
	[5M]

	
	b)
	Explain the construction and working of Mcleod pressure gauge.
	L4
	CO5
	[5M]

	
	c)
	Explain the working principle of photo electric transducer.
	L4
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

