[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A714   





                 
      Date: 21-Dec-2022 (AN)
B.Tech IV-Year I- Semester (A18) Special Supplementary Examination - December-2022
POWER SYSTEM ANALYSIS AND CONTROL (EEE)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Find YBUS for a network with following data by direct inspection method. Line
impedance and line charging data:

Line

(bus to bus)

Impedance

Line charging

(Y/2)

1-2

0.02 + j 0.1

j 0.03

1-5

0.05 + j 0.25

j 0.02

2-3

0.04 + j 0.2

j 0.025

2-5

0.05 + j 0.25

j 0.02

3-4

0.05 + j 0.25

j 0.02

3-5

0.08 + j 0.4

j 0.01

4-5

0.10 + j 0.5

j 0.075


	L5

	CO1
	[7M]

	
	b)
	Discuss the advantage and disadvantages of finding YBUS by singular transformation.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Obtain the mathematical modeling of speed governing system.
	L5
	CO2
	[7M]

	
	b)
	Obtain the transfer function and block diagram representation of First order turbine model.
	L5
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Derive the expression for analysis of integral control for steady state response.
	L5
	CO3
	[7M]

	
	b)
	Develop the block diagram model of uncontrolled two area load frequency control system.
	L5
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Write the assumptions of fast decoupled load flow method.
	L4
	CO4
	[7M]

	
	b)
	With the help of a neat flow chart, explain the Newton-Raphson method of load flow solution.
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Define steady state stability and Explain the methods for improving steady state stability.
	L3
	CO5
	[7M]

	
	b)
	What is the equal area criterion? Explain how it is useful for predicting system stability.
	L4
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	In a thermal power station, incremental costs are given by the following equations:

dc1/dp1 = Rs. (0.15P1 + 12);

dc3/dp3 = Rs. (0.21P3 + 13);

dc2/dp2 = Rs. (0.05P3 + 14);

Where P1, P2 and P3 are the loads in MW. Determine the economical load allocation between the three units, when the total load on the station is 300MW.
[5+5]
	L4
	CO6
	[7M]

	
	b)
	Derive the transmission loss formula for a system consisting of n-generating plants supplying several loads inter connected through a transmission networks.
	L4
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Find the bus incidence matrix for the  following network?

[image: image1.jpg]




	L3
	CO1
	[5M]

	
	b)
	For a single area system, show that the static error frequency can be reduced to zero .
	L4
	CO2
	[5M]

	
	c)
	Develop the block diagram model of controlled two area load frequency control system.
	L4
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Compare G-S method and N- R methods of load flow solutions.
	L3
	CO4
	[5M]

	
	b)
	Discuss the various factors affecting the transient stability of the system.
	L4
	CO5
	[5M]

	
	c)
	What is hydro-thermal scheduling?
	L3
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 2

