[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B735   





                 
      Date: 21-Dec-2022 (AN)
B.Tech IV-Year I- Semester (A18) Special Supplementary Examination - December-2022
RENEWABLE ENERGY AND ENERGY MANAGEMENT (PE-III) - (ME)

Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Describe working of hybrid wind energy with solar energy system with a diagram?
	L2
	CO1
	[7M]

	
	b)
	List merits and demerits of Hybrid wind energy systems.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Describe the working of any one of thermo-chemical conversion to convert Biomass in to useful fuel.
	L2
	CO2
	[7M]

	
	b)
	List types of Bio fuels with their applications.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Write different Types of Biogas Plants and explain any one with neat diagram.
	L2
	CO3
	[7M]

	
	b)
	Compare Individual and community biogas operated engines.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	The undistributed wind speed at a location is Vi= 4.47 m/s, the speed at turbine rotor is 60% of this value, and the speed at exit is 30% of Vi. The rotor diameter is 9 m. density of air 1.293 kg/m3. Calculate

i. power available at inlet of tubine

ii. power at exit of turbine

iii. power developed by turbine
	L3
	CO4
	[7M]

	
	b)
	Explain the construction and working of variable V & F generator of wind turbine.
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	How is dry steam power plant  works with the source of geothermal energy and explain with a diagram?
	L2
	CO5
	[7M]

	
	b)
	Explain the Sustainability of availability of geothermal energy for future plan.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the working of Direct electrolysis of water method to produce Hydrogen.
	L2
	CO6
	[7M]

	
	b)
	Describe the construction and working of fuel cell with a neat diagram.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain working of Photo-Voltaic solar energy system with a neat diagram.
	L2
	CO1
	[5M]

	
	b)
	Differentiate between Aerobic and Anaerobic conversion to produce useful fuel from Biomass.
	L2
	CO2
	[5M]

	
	c)
	Discuss the importance of biogas technology in present energy scenario.
	L2
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	What are the factors considered in the design of wind turbine?
	L3
	CO4
	[5M]

	
	b)
	Write short notes on Status of Geothermal Technology to generate the power.
	L2
	CO5
	[5M]

	
	c)
	Why is it difficult to store hydrogen?
	L2
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 1

