[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC41  





                 
      Date: 20-Feb-2023 (FN)
B.Tech II-Year I- Semester External Examination, February/March-2023 (Supplementary)
BASIC ELECTRICAL ENGINEERING (CSE and it)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Draw the V-I characteristics of Practical Voltage source and current sources.
	L1
	CO1
	[2M]

	2
	Define Form factor and peak factor, write the expressions for them.
	L1
	CO2
	[2M]

	3
	List various losses in DC machine.
	L1
	CO3
	[2M]

	4
	State the reason for conducting OC test on low voltage side of a transformer. 
	L1
	CO4
	[2M]

	5
	List the advantages of three phase system.
	L1
	CO5
	[2M]

	6
	Define controlling and name the methods of employing it.
	L1
	CO6
	[2M]

	7
	Sate Faraday’s laws of electromagnetic induction.
	L1
	CO1
	[2M]

	8
	What is the function of Conservator tank in a transformer?
	L2
	CO3
	[2M]

	9
	State the reason for nonlinear scale in Moving Iron instruments.
	L1
	CO5
	[2M]

	10
	Why Three phase induction motor is self starting?
	L2
	CO6
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	State and explain Kirchhoff’s laws with suitable examples.
	L2
	CO1
	[5M]

	
	b)
	Find the equivalent resistance between the terminals A and B in the network shown below

[image: image2.png]20 150

Bo
Ao
100
8a
200 100




	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Determine the RMS value and Average value of 

the waveform shown below

[image: image3.png]>t





	L3
	CO2
	[5M]

	
	b)
	A series RLC circuit having a resistance of 8 Ω, an inductance of 80 mH and a capacitance of 100 μF is connected across a 150 V, 50 Hz supply. Calculate (i) current, (ii) power factor, and 
(iii) voltage across the inductance and capacitance.

	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the principle of operation of DC motor with help of relevant diagrams.
	L2
	CO3
	[5M]

	
	b)
	A shunt generator supplies 95 A at a terminal voltage of 240 V. The armature and shunt field resistances are 0.2 Ω and 60 Ω respectively. The iron and frictional losses are 2000 W. Find the efficiency of DC generator. Also determine the value of load current at which maximum efficiency occurs.
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the construction of single phase transformer with the help of diagram.
	L2
	CO4
	[5M]

	
	b)
	The OC and SC test data are given below for a single phase 5kVA,200V/500V,50Hz transformer

OC Test from LV side

200V

125A

150W

SC test from HV side

20V

12.5

175W

Calculate the voltage regulation and efficiency at full-load 0.8 p.f. lagging.
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the principle of operation of three phase induction motor with the help of neat sketch.
	L2
	CO5
	[5M]

	
	b)
	A 4-pole,3-ø induction motor operates from a supply whose frequency is 50Hz.Calculate

i) The speed at which the magnetic field of the stator is rotating.

ii) The speed of the rotor when the slip is 0.04.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the essential features of indicating type measuring instruments.
	L2
	CO6
	[5M]

	
	b)
	Explain the construction and working of attraction type moving iron instrument.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Calculate the current through the 10 Ω resistor in the network shown in Figure below using mesh analysis.
[image: image4.png]100 00

0a(t 50 200 =100V





	L3
	CO1
	[4M]

	
	b)
	An RL series circuit is excited by a DC supply of 20V. Find the steady-state current, time constant, transient time and the induced voltage in the inductor after 10ms. Take the resistance and inductance value as R = 4Ω and            L = 50mH respectively.
	L3
	CO2
	[3M]

	
	c)
	Derive the EMF equation of a DC generator.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain principle of operation of single transformer.
	L2
	CO4
	[4M]

	
	b)
	The input power to a 3-phase induction motor is measured as 5kW. If the voltage and current to the motor are 400V and 8.6A respectively, determine the power factor of the system and reactive power.
	L3
	CO5
	[3M]

	
	c)
	A moving coil ammeter has a full scale deflection of 50 µ Amp and a coil resistance of 1000 Ω. What will be the value of the shunt resistance required for the instrument to be converted to read a full scale reading of 1 A.
	L3
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1604898669.unknown

