[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC48  





                 
      Date: 04-Mar-2023 (FN)
B.Tech II-Year II- Semester External Examination, February/March-2023 (Supplementary)
ELEMENTS OF ELECTRICAL AND ELECTRONICS ENGINEERING (CIVIL and ME)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	State Kirchhoff’s laws with examples.
	L1
	CO1
	[2M]

	2
	Appraise the significance of form factor and peak factor?
	L5
	CO2
	[2M]

	3
	Discuss working principle of 3 phase Induction motor?
	L2
	CO3
	[2M]

	4
	Draw the V-I characteristic of a PN diode and show the shift with increase in temperature?
	L1
	CO4
	[2M]

	5
	Classify the different configurations of transistor?
	L3
	CO5
	[2M]

	6
	Design AND gate using NAND gates?
	L4
	CO6
	[2M]

	7
	Explain Reciprocity theorem?
	L2
	CO1
	[2M]

	8
	Classify the various classifications of instruments?
	L3
	CO3
	[2M]

	9
	Specify the advantages and disadvantages of MOSFET?
	L6
	CO5
	[2M]

	10
	Define filter and write the classification of filters.
	L1
	CO4
	[2M]









           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Write the torque equation of dc motor.
	L1
	CO1
	[5M]

	
	b)
	Give the constructional details of a D.C. Generator with neat sketches.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Analyze the expression for the RMS, average values, peak factor and form factor of sinusoidal signal.
	L4
	CO2
	[5M]

	
	b)
	Distinguish relation between line and phase currents in star connection.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Solve a 3-phase, 4-pole induction motor is connected to a 50 Hz supply. Calculate rotor frequency when rotor runs at 600 rpm?
	L3
	CO3
	[5M]

	
	b)
	Explain the construction and working of PMMC instrument. Derive the equation for deflection if the instrument is spring controlled.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Draw load line on the V-I characteristics of a PN junction diode and highlight its significance in diode operation.
	L1
	CO4
	[5M]

	
	b)
	 Differentiate between transition and diffusion capacitances of a diode.
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Demonstrate the construction and principle of operation of JFET.
	L3
	CO5
	[5M]

	
	b)
	Compare the characteristics of CE, CB and CC configurations of a BJT.
	L5
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain K-Map and advantages & disadvantages of K –map method.
	L2
	CO6
	[5M]

	
	b)
	Categorize logic gates and implementation of Boolean expressions using logic gates.
	L6
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Solve a four pole generator having wave-wound armature winding has 51 slots, each slot containing 20 conductors. What will be the voltage generated in the machine when driven at 1500 rpm assuming the ﬂux per pole to be 7.0 m Wb.
	L3
	CO1
	[4M]

	
	b)
	Calculate the voltage of 240-V RMS, what would be the peak voltage.
	L3
	CO2
	[3M]

	
	c)
	Discuss faradays laws.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Specify the Zener Breakdown mechanism.
	L6
	CO4
	[4M]

	
	b)
	Generalize the need of biasing a BJT.
	L2
	CO5
	[3M]

	
	c)
	Explain the Laws related to Boolean algebra.
	L1
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1604898669.unknown

