[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A817  





                 
      Date: 09-Jan-2023 (FN)
B.Tech III-Year I- Semester External Examination, January-2023 (Supplementary)
HIGH VOLTAGE ENGINEERING (PE-IV)  (EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	S.No
	
	BCLL
	CO(s)
	Marks

	1
	Explain the common features of a rotating machine.
	L2
	CO1
	[2M]

	2
	Give an example of liquid insulator in electricity?
	L1
	CO2
	[2M]

	3
	State the function of tripping current?
	L1
	CO3
	[2M]

	4
	What are the natural causes of overvoltage?
	L2
	CO4
	[2M]

	5
	Discuss the different types of non-destructive tests.
	L2
	CO5
	[2M]

	6
	What is the function of a surge arrester?
	L1
	CO6
	[2M]

	7
	What is Town sends secondary ionization co-efficient?
	L1
	CO1/2
	[2M]

	8
	Explain the main types of lightning?
	L2
	CO3/4
	[2M]

	9
	What are the necessities of High voltage testing?
	L1
	CO5/6
	[2M]

	10
	Explain the techniques to control surge voltage.
	L2
	CO-
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Define circuit breakers. How does a circuit breaker different from a switch?
	L1
	CO1
	[5M]

	
	b)
	What are the applications of insulating materials in transformers?
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Demonstrate Townsend’s breakdown criteria. Define Townsend’s Primary and secondary ionization coefficients.
	L3
	CO2
	[5M]

	
	b)
	Explain the various breakdown mechanism involved in solid dielectric breakdown.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	State the operating principle to high alternating voltage.
	L1
	CO3
	[5M]

	
	b)
	Explain the method of impulse testing of high voltage transformers. What is the procedure adopted for locating the failure?
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	List out the various types of environments encountered by an E.H.V cable along with the methods of cooling.
	L1
	CO4
	[5M]

	
	b)
	Differentiate the various methods implemented for protection against lightning over-voltage in an electrical power system.
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What is dielectric loss? What are the causes of dielectric loss?
	L2
	CO5
	[5M]

	
	b)
	What are destructive and non-destructive testing of materials? Explain are its advantages?
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Classify the various high-voltage test done on cables?
	L3
	CO6
	[5M]

	
	b)
	Discover the steps for the Impulse withstand test on Power transformer?
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	What is dielectric and write the difference between conductor and dielectric?
	L4
	CO1
	[4M]

	
	b)
	Define (i) Electromechanical breakdown (ii) Thermal breakdown
	L1
	CO2
	[3M]

	
	c)
	What are the criteria required to assess the potential dividers used for high-impulse voltages.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Describe in brief about insulation coordination in E.H.V systems.
	L1
	CO4
	[4M]

	
	b)
	Define Partial discharge. List out various types of partial discharges.
	L2
	CO5
	[3M]

	
	c)
	What are the various high-voltage test done on bushings?
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1604898669.unknown

