[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A509 





                 
      Date: 23-Jan-2023 (FN)
B.Tech III-Year I- Semester External Examination, January-2023 (Regular)
POWER ELECTRONICS (EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Compare Power MOSFET and IGBT.
	L1
	CO1
	[2M]

	2
	What are the advantages of Single Phase Bridge Converter over Single Phase Mid-Point Converter?
	L1
	CO2
	[2M]

	3
	Draw the circuit diagram of 3-Ø semi-converter.
	L1
	CO3
	[2M]

	4
	What is meant by step-up and step-down chopper?
	L1
	CO4
	[2M]

	5
	Why diodes should be connected in antiparallel with the thyristors in inverter circuits?
	L2
	CO5
	[2M]

	6
	What is the difference between ON-OFF control and phase control?
	L1
	CO6
	[2M]

	7
	What is a snubber circuit?
	L1
	CO1
	[2M]

	8
	What is meant by input power factor in controlled rectifier?
	L1
	CO2
	[2M]

	9
	What are the types of cycloconverter.
	L1
	CO6
	[2M]

	10
	Draw the static V – I characteristics of a BJT.
	L1
	CO1
	[2M]









           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	With a neat sketch, explain the static V-I Characteristics of an SCR? What are the Significance of Latching current, Holding current and Break over Voltage. 
	L2
	CO1
	[5M]

	
	b)
	Explain the turn-on and turn-off methods of SCR.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	What is phase angle controlled technique? Explain the operation of          single – phase full controlled rectifier. Derive the expression for average dc output voltage. Draw the relevant waveforms.
	L1
	CO2
	[5M]

	
	b)
	A single phase full wave controlled rectifier is used to supply a resistive load of 10Ω from a 230 V, 50 Hz, supply and firing angle of 900. What is its mean load voltage? If a large inductance is added in series with the load resistance, what will be the new output load voltage?
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Draw the circuit diagram of three – phase, full–wave controlled rectifier with R load and explain its operating principle with timing diagram and voltage waveforms. Determine the following parameters for R load with firing angle      α = 60o :


i) dc output voltage 
     ii) Average dc load current.
	L2
	CO3
	[5M]

	
	b)
	A three –phase full converter is connected to a load resistance of 5 Ω and it is supplied from a 220 V, 50 Hz ac supply, If the firing angle of thyristor is    α=30o, Draw the relevant waveforms and determine 


i) average output voltage,

 ii) average output current, 
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the operating principle of dc chopper with a suitable diagram. Draw the voltage and current waveforms of step down chopper. Derive expressions for average output voltage and rms output voltage.
	L1
	CO4
	[5M]

	
	b)
	A Chopper circuit is operating on TRC at a frequency of 2 kHz on a 460 V supply. If the load voltage is 350 volts, calculate the conduction period of the thyristor in each cycle.
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain operation of single full bridge inverter with quasi-square wave pulse width modulation.
	L1
	CO5
	[5M]

	
	b)
	List out the difference between CSI and VSI.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Draw the single – phase  ac voltage controller with R load and explain its working principle with waveforms.
	L1
	CO6
	[5M]

	
	b)
	Illustrate the principle of working of a 1-phase to 1-phase bridge type step down cyclo-converter feeding an R load.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Draw and explain the transfer and output characteristics of n-channel enhancement type MOSFET’s.
	L1
	CO1
	[5M]

	
	b)
	Explain the operation of single phase two pulse midpoint converter with relevant voltage and current waveforms.
	L1
	CO2
	[5M]

	
	
	
	
	
	

	18.
	a)
	Discuss the principle of 3-phase bridge inverter with appropriate circuit diagram, Draw the output phase voltage when it is conducting for 1800  mode.
	L1
	CO5
	[10M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

_1604898669.unknown

